附表2                                        任务编号：L01957-2008-01

推荐批准的实验室检测能力范围（中文）

名称：四川省建筑工程质量检测中心

地址：四川省成都市一环路北三段55号

| 序号 | 产品/ 产品类别 | 项目/参数 |  | 领域 代码 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1.建筑材料及制品 |  |  |  |  |  |  |  |
| 1 | 水泥 | 1 | 抗压强度 | 1001.02 | 1.《水泥胶砂强度检验方法 (ISO法)》GB/T 17671-1999 2.《水泥标准稠度用水量、凝结时间、安定性检验方法》GB/T 1346-2001 3.《水泥细度检验方法（80µm筛析法）》GB/T 1345-2005 4.《水泥胶砂流动度测定方法》 GB/T 2419-2005 5.《水泥比表面积测定方法》 (勃氏法)GB/T 8074-2008 6.《水泥密度测定方法》 GB/T 208-1994 7.《水泥化学分析方法》 GB/T 176-2008 8.《通用硅酸盐水泥》GB175-2007 9.《白色硅酸盐水泥》GB/T2015-2005 10.《硫铝酸盐水泥》 GB 20472-2006 11.《抗硫酸盐硅酸盐水泥》 GB748-2005 12.《石灰石硅酸盐水泥》JC600-2002 13.《砌筑水泥》GB/T3183-2003 14.《明矾石膨胀水泥》 JC/T 311-2004 15.《铝酸盐水泥》GB201-2000 16.《钢渣道路水泥》 JC/T 1087-2008 17.《道路硅酸盐水泥》 GB13693-2005 18.《用于水泥和混凝土中的粉煤灰》 GB/T596-2005 |  | 标准 变更/扩2个标准 |
|  |  | 2 | 抗折强度 | 1001.02 |  |  |  |
|  |  | 3 | 凝结时间 | 1001.02 |  |  |  |
|  |  | 4 | 安定性 | 1001.02 |  |  |  |
|  |  | 5 | 标准稠度 用水量 | 1001.02 |  |  |  |
|  |  | 6 | 细度 | 1001.02 |  |  |  |
|  |  | 7 | 烧失量 | 1001.02 |  |  |  |
|  |  | 8 | 不溶物 | 1001.02 |  |  |  |
|  |  | 9 | 二氧化硅 | 1001.02 |  |  |  |
|  |  | 10 | 三氧化二铁 | 1001.02 |  |  |  |
|  |  | 11 | 三氧化二铝 | 1001.02 |  |  |  |
|  |  | 12 | 氧化钙 | 1001.02 |  |  |  |
|  |  | 13 | 氧化镁 | 1001.02 |  |  |  |
|  |  | 14 | 氧化钾和 氧化钠 | 1001.02 |  |  |  |
|  |  | 15 | 硫酸盐-三氧化硫 | 1001.02 |  |  |  |
| 2 | 粉煤灰 | 1 | 含水量 | 1016 | 1.《用于水泥和混凝土中的 粉煤灰》GB/T596-2005 2.《水泥胶砂流动度测定方法》 GB/T 2419-2005 3.《水泥化学分析方法》 GB/T 176-2008 |  | 标准 变更 |
|  |  | 2 | 28天抗压强度比 | 1016 |  |  |  |
|  |  | 3 | 需水量比 | 1016 |  |  |  |
|  |  | 4 | 三氧化硫 | 1016 |  |  |  |
|  |  | 5 | 烧失量 | 1016 |  |  |  |
|  |  | 6 | 细度 | 1016 |  |  |  |
| 3 | 外加剂 | 1 | 含气量 | 1016 | 1.《混凝土外加剂》GB 8076-1997 2.《砂浆、混凝土防水剂》 JC 474-2008 3.《混凝土泵送剂》JC 473-2001 4.《混凝土防冻剂》JC 475-2004 5.《混凝土膨胀剂》JC 476-2001 6.《聚羧酸系高性能减水剂》JG/T223-2007 7.《混凝土外加剂匀质性试验方法》GB/T 8077-2000 8.《水泥原料中氯的化学 分析方法》JC/T 420-1991 |  | 标准 变更/扩1个标准 |
|  |  | 2 | 凝结时间差 | 1016 |  |  |  |
|  |  | 3 | 抗压强度比 | 1016 |  |  |  |
|  |  | 4 | 泌水率比 | 1016 |  |  |  |
|  |  | 5 | 收缩率比 | 1016 |  |  |  |
|  |  | 6 | 钢筋锈蚀 | 1016 |  |  |  |
|  |  | 7 | 含固量或 含水量 | 1016 |  |  |  |
|  |  | 8 | 密度 | 1016 |  |  |  |
|  |  | 9 | 水泥净浆流动度 | 1016 |  |  |  |
|  |  | 10 | 细度 | 1016 |  |  |  |
|  |  | 11 | 凝结时间 | 1016 |  |  |  |
|  |  | 12 | 碱含量 | 1016 |  |  |  |
|  |  | 13 | 减水率 | 1016 |  |  |  |
|  |  | 14 | 氯离子含量 | 1016 |  |  |  |
|  |  | 15 | 坍落度保留值 | 1016 | 1．《混凝土泵送剂》JC 473-2001 |  |  |
|  |  | 16 | 坍落度增加值 | 1016 |  |  |  |
|  |  | 17 | 渗透高度比 | 1016 | 1．《砂浆、混凝土防水剂》 JC 474-2008 |  |  |
|  |  | 18 | 48h吸水量比 | 1016 |  |  |  |
|  |  | 19 | 透水压力比 | 1016 |  |  |  |
|  |  | 20 | 安定性 | 1016 |  |  |  |
|  |  | 21 | pH值 | 1016 | 1．《混凝土外加剂》GB 8076-1997 2．《混凝土外加剂匀质性试验方法》GB/T 8077-2000 |  |  |
|  |  | 22 | 表面张力 | 1016 |  |  |  |
|  |  | 23 | 硫酸钠 | 1016 |  |  |  |
|  |  | 24 | 还原糖 | 1016 |  |  |  |
|  |  | 25 | 氨释放量 | 1016 | 1．《混凝土防冻剂》JC 475-2004 2．《混凝土外加剂中释放氨的限量》GB 18588-2001 |  |  |
|  |  | 26 | 限制膨胀率 | 1016 | 1. 《混凝土膨胀剂》JC 476-2001 |  |  |
|  |  | 27 | 氧化镁 | 1016 |  |  |  |
|  |  | 28 | 甲醛 | 1016 | 1. 《聚羧酸系高性能减水剂》JG/T223-2007 |  | 扩参数 |
| 4 | 砂 | 1 | 颗粒级配、细度模数 | 1006.04 | 1.《建筑用砂》GB/T 14684-2001 2.《普通混凝土用砂、石质量标准及检验方法》JGJ 52-2006 3.《砂、石碱活性快速试验方法》 CECS48：1993 |  |  |
|  |  | 2 | 含泥量 | 1006.15 |  |  |  |
|  |  | 3 | 泥块含量 | 1006.13 |  |  | 扩参数 |
|  |  | 4 | 石粉含量 | 1006.33 |  |  |  |
|  |  | 5 | 有机物含量 | 1006.33 |  |  |  |
|  |  | 6 | 坚固性 | 1006.30 |  |  |  |
|  |  | 7 | 表观密度 | 1006.27 |  |  |  |
|  |  | 8 | 堆积密度 | 1006.02 |  |  |  |
|  |  | 9 | 云母含量 | 1006.14 |  |  |  |
|  |  | 10 | 硫化物和 硫酸盐含量 | 1006.33 |  |  |  |
|  |  | 11 | 氯化物含量 （氯离子） | 1006.33 |  |  |  |
|  |  | 12 | 碱活性 | 1006.20 |  |  |  |
|  |  | 13 | 轻物质含量 | 1006.13 |  |  |  |
| 5 | 石 | 1 | 颗粒级配 | 1006.04 | 1.《建筑用卵石、碎石》 GB/T 14685-2001 2.《普通混凝土用砂、石质量标准及检验方法》JGJ 52-2006 3．《砂、石碱活性快速试验方法》 CECS48：1993 |  |  |
|  |  | 2 | 含泥量/石粉含量 | 1006.15 |  |  |  |
|  |  | 3 | 泥块含量 | 1006.13 |  |  | 扩参数 |
|  |  | 4 | 针片状含量 | 1006.05 |  |  |  |
|  |  | 5 | 有机物含量 | 1006.16 |  |  |  |
|  |  | 6 | 坚固性 | 1006.30 |  |  |  |
|  |  | 7 | 压碎指标值 | 1006.33 |  |  |  |
|  |  | 8 | 表观密度 | 1006.27 |  |  |  |
|  |  | 9 | 体积密度 | 1006.02 |  |  |  |
|  |  | 10 | 硫化物和硫酸盐含量含量 | 1006.33 |  |  |  |
|  |  | 11 | 岩石抗压强度 | 1005.05 |  |  |  |
|  |  | 12 | 碱活性 | 1006.20 |  |  |  |
| 6 | 钢筋 (原材，焊接) | 1 | 屈服强度 | 1016 | 1.《金属材料室温拉伸试验方法》 GB/T228-2002 2.《金属材料弯曲试验方法》GB/T232-1999 3.《金属材料 线材 反复弯曲试验方法》GB/T238-2002 4.《金属材料 室温压缩试验方法》 GB/T 7314-2005 5.《金属材料 夏比摆锤冲击试验方法》GB229-2007 6.《优质碳素结构钢》GB/T699-1999 7.《碳素结构钢》GB/T700-2006 8.《钢筋砼用热轧光圆钢筋》 GB 1499.1-2008 9.《钢筋砼用热轧带肋钢筋》 GB 1499.2-2007 10.《冷轧带肋钢筋》GB13788-2008 11.《冷轧扭钢筋》JG 190-2006 12.《钢筋焊接及验收规程》JGJ18-2003 |  | 标准 变更 |
|  |  | 2 | 抗拉强度 | 1016 |  |  |  |
|  |  | 3 | 伸长率 | 1016 |  |  |  |
|  |  | 4 | 冷弯 | 1016 |  |  |  |
|  |  | 5 | 反复弯曲 | 1016 |  |  |  |
|  |  | 6 | 冲击吸收功 | 1016 |  |  |  |
|  |  | 7 | 抗剪力 | 1016 |  |  |  |
| 7 | 型材 | 1 | 屈服强度 | 1016 | 1.《金属材料室温拉伸试验方法》T228-2002 2.《金属材料弯曲试验方法》GB/T232-1999 3.《金属材料 室温压缩试验方法》 GB/T 7314-2005 4.《金属材料 夏比摆锤冲击试验方法》GB229-2007 5.《优质碳素结构钢》GB/T699-1999 6.《碳素结构钢》GB/T700-2006 7.《低合金高强度结构钢》GB/T1591-1994 8.《结构用无缝钢管》GB/T8162-2008 9.《直缝电焊钢管》 GB/T13793-2008 10.《圆线同心绞架空导线》GB/T1179-1999 11.《钢筋焊接及验收规程》JGJ18-2003 12.《铝合金建筑型材》 GB/T 5237.1～6-2004 |  | 标准 变更 |
|  |  | 2 | 抗拉强度 | 1016 |  |  |  |
|  |  | 3 | 伸长率 | 1016 |  |  |  |
|  |  | 4 | 冷 弯 | 1016 |  |  |  |
|  |  | 5 | 冲击吸收功 | 1016 |  |  |  |
| 8 | 混凝土 | 1 | 配合比 | 1002.22 | 1.《普通混凝土配合比设计 规程》JGJ 55-2000 2.《普通混凝土拌合物性能 试验方法标准》GB/T 50080-2002 3.《普通混凝土力学性能试 验方法标准》GB/T 50081-2002 4.《普通混凝土长期性能和 耐久性能试验方法》GBJ 82-1985 5.《混凝土质量控制标准》 GB 50164-1992 6.《高层建筑箱形与筏形基础技术规范》JGJ 6-1999 7.《钢筋混凝土高层建筑结 构设计与施工规范》JGJ 3-2002 8.《高性能混凝土应用技术 规程》CECS 207：2006 |  | 扩1个标准 |
|  |  | 2 | 稠度 | 1002.03 |  |  |  |
|  |  | 3 | 表观密度 | 1002.05 |  |  |  |
|  |  | 4 | 含气量 | 1002.04 |  |  |  |
|  |  | 5 | 凝结时间 | 1002.19 |  |  |  |
|  |  | 6 | 泌水 | 1002.06 |  |  |  |
|  |  | 7 | 压力泌水 | 1002.06 |  |  |  |
|  |  | 8 | 抗冻性能 （慢冻法） | 1002.22 |  |  |  |
|  |  | 9 | 抗渗性能 | 1002.22 |  |  |  |
|  |  | 10 | 收缩 | 1002.14 |  |  |  |
|  |  | 11 | 立方体 抗压强度 | 1002.09 |  |  |  |
|  |  | 12 | 轴心 抗压强度 | 1002.09 |  |  |  |
|  |  | 13 | 静力受压 弹性模量 | 1002.18 |  |  |  |
|  |  | 14 | 劈裂 抗拉强度 | 1002.11 |  |  |  |
|  |  | 15 | 抗折强度 | 1002.12 |  |  |  |
|  |  | 16 | 温度 | 1002.22 |  |  |  |
|  |  | 17 | 抗氯离子渗透 | 1002.22 |  |  | 扩参数 |
|  |  | 18 | 碳化 | 1002.22 |  |  |  |
| 9 | 砂浆 | 1 | 砌筑砂浆 配合比 | 1001.05 | 1.《砌筑砂浆配合比设计规程》 JGJ 98-2000 2.《建筑砂浆基本性能试验方法》 JGJ 70-1990 |  |  |
|  |  | 2 | 稠度 | 1001.05 |  |  |  |
|  |  | 3 | 密度 | 1001.05 |  |  |  |
|  |  | 4 | 分层度 | 1001.05 |  |  |  |
|  |  | 5 | 凝结时间 | 1001.05 |  |  |  |
|  |  | 6 | 立方体 抗压强度 | 1001.05 |  |  |  |
|  |  | 7 | 抗冻性能 | 1001.05 |  |  |  |
|  |  | 8 | 收缩 | 1001.05 |  |  |  |
| 10 | 烧结砖 | 1 | 强度等级 | 1012.02 | 1.《砌墙砖试验方法》 GB/T 2542-2003 2.《烧结普通砖》GB 5101-2003 3.《烧结空心砖和空心砌块》 GB 13545-2003 4.《烧结多孔砖》GB 13544-2000 5.《粉煤灰砖》JC239-2001 6.《蒸压灰砂砖》GB11945-1999 7.《非烧结垃圾尾矿砖》 JC/T422-2007 |  | 扩3个标准 扩参数 |
|  |  | 2 | 体积密度 | 1012.02 |  |  |  |
|  |  | 3 | 外观质量 尺寸偏差 | 1012.02 |  |  |  |
|  |  | 4 | 吸水 | 1012.02 |  |  |  |
|  |  | 5 | 抗冻性能 | 1012.02 |  |  |  |
|  |  | 6 | 泛霜 | 1012.02 |  |  |  |
|  |  | 7 | 石灰爆裂 | 1012.02 |  |  |  |
|  |  | 8 | 孔隙率 | 1012.02 |  |  |  |
| 11 | 瓦 | 1 | 外观质量 | 1003.01 | 1.《混凝土瓦》JC/T 746-2007 2.《纤维水泥制品试验方法》 GB/T 7019-1997 3.《玻纤镁质胶凝材料波瓦 及脊瓦》JC/T 747-2002 4.《石棉水泥波瓦及脊瓦》 GB/T 9772-1996 |  | 标准 变更 |
|  |  | 2 | 尺寸偏差 | 1003.01 |  |  |  |
|  |  | 3 | 吸水率 | 1003.01 |  |  |  |
|  |  | 4 | 不透水性/ 抗渗性 | 1003.01 |  |  |  |
|  |  | 5 | 抗冻性 | 1003.01 |  |  |  |
|  |  | 6 | 抗折力/ 承载力 | 1003.01 |  |  |  |
| 12 | 砌块 | 1 | 外观 | 1003.08 | 1.《混凝土小型空心砌块试验方法》 GB/T 4111-1997 2.《蒸压加气混凝土性能试验方法》 GB/T 11969-2008 3.《绝热材料稳定热阻及有关特性的测定》GB/T10294-2008 4.《加气混凝土导热系数试验方法》 JC 275-1980（1996） |  | 标准 变更 |
|  |  | 2 | 尺寸 | 1003.08 |  |  |  |
|  |  | 3 | 密度 | 1003.08 |  |  |  |
|  |  | 4 | 含水率 | 1003.08 |  |  |  |
|  |  | 5 | 吸水率 | 1003.08 |  |  |  |
|  |  | 6 | 抗压强度 | 1003.08 |  |  |  |
|  |  | 7 | 强度等级 | 1003.08 |  |  |  |
|  |  | 8 | 抗折强度 | 1003.08 |  |  |  |
|  |  | 9 | 软化系数 | 1003.08 |  |  |  |
|  |  | 10 | 抗冻性 | 1003.08 |  |  |  |
|  |  | 11 | 导热系数 | 1003.08 |  |  |  |
| 13 | 混凝土 路面砖 | 1 | 强度等级 | 1009.06 | 1.《混凝土路面砖》JC/T 446-2000 |  |  |
|  |  | 2 | 吸水率 | 1009.04 |  |  |  |
| 14 | 陶瓷砖 | 1 | 粘结强度 | 1016 | 1.《建筑工程饰面砖粘结强度检验标准》JGJ 110-2008 2.《陶瓷砖试验方法—尺寸和表面质量的检验》GB/T 3810.2-2006 3.《陶瓷砖试验方法 第3部分：吸水率、显气孔率、表观相对密度和容重的测定》GB/T 3810.3-2006 4.《陶瓷砖试验方法 第4部分：断裂模数和破坏强度的测定》 GB/T 3810.4-2006 5.《陶瓷砖试验方法 第9部分：抗热震性的测定》GB/T 3810.9-2006 6.《陶瓷砖试验方法 第12部分：抗冻性的测定》GB/T 3810.12-2006 7.《外墙饰面砖工程施工及验收规程》JGJ126-2000/J23-2000 |  | 标准 变更 |
|  |  | 2 | 尺寸及 表面质量 | 1016 |  |  |  |
|  |  | 3 | 吸水率 | 1016 |  |  |  |
|  |  | 4 | 断裂模数及破坏强度 | 1016 |  |  |  |
|  |  | 5 | 抗热震性 | 1016 |  |  |  |
| 15 | 天然石材 | 1 | 吸水率 | 1005.01 | 1.《公路工程岩石试验规程》 JTG E41-2005 |  | 标准 变更 |
|  |  | 2 | 抗压强度 | 1005.05 |  |  |  |
| 16 | 天然花岗 石（大理 石）板材 | 1 | 吸水率及 体积密度 | 1005.01 1005.02 | 1.《天然饰面石材试验方法 第3部分：体积密度、真密度、真气孔率、吸水率试验方法》GB/T 9966.3-2001 2.《天然饰面石材试验方法 第2部分：干燥、水饱和弯曲强度试验方法》GB/T 9966.2-2001 3.《建筑饰面材料镜向光泽测定方法》GB/T 13891-2008 4.《天然饰面石材试验方法 第1部分：干燥、水饱和压缩强度试验方法》GB/T 9966.1-2001 5.《天然花岗石建筑板材》GB/T18601-2001 6.《天然大理石建筑板材》 GB/T 19766-2005 |  | 标准 变更 |
|  |  | 2 | 弯曲强度 （干燥、水饱和） | 1005.05 |  |  |  |
|  |  | 3 | 光泽度 | 1005.04 |  |  |  |
|  |  | 4 | 压缩强度 （干燥、水饱和） | 1005.05 |  |  |  |
| 17 | 隔墙条板 | 1 | 外观 | 1003.08 | 1.《建筑隔墙用轻质条板》 JG/T 169-2005 2.《玻璃纤维增强水泥轻质多孔隔墙条板》GB/T 19631-2005 3.《工业灰渣混凝土空心隔 墙条板》JG/T 3063-1999 4.《金属面聚苯乙烯夹芯板》 JC 689-1998 5.《建筑材料放射性核素限量》GB6566-2001 |  | 标准 变更 |
|  |  | 2 | 尺寸 | 1003.08 |  |  |  |
|  |  | 3 | 面密度 | 1003.08 |  |  |  |
|  |  | 4 | 含水率 | 1003.08 |  |  |  |
|  |  | 5 | 吸水率 | 1003.08 |  |  |  |
|  |  | 6 | 单点吊挂力 | 1003.08 |  |  |  |
|  |  | 7 | 抗弯 破坏荷载 | 1003.08 |  |  |  |
|  |  | 8 | 抗冲击性 | 1003.08 |  |  |  |
|  |  | 9 | 抗折 破坏荷载 | 1003.08 |  |  |  |
|  |  | 10 | 放射性 | 1003.08 |  |  |  |
| 18 | 石膏板 | 1 | 外观尺寸 | 1010.02 | 1.《装饰石膏板》JC/T 799-2007 2.《纸面石膏板》GB/T 9775-2008 |  | 标准 变更 |
|  |  | 2 | 单位面积重量 | 1010.02 |  |  |  |
|  |  | 3 | 含水率 | 1010.02 |  |  |  |
|  |  | 4 | 吸水率/ 吸水量 | 1010.02 |  |  |  |
|  |  | 5 | 断裂荷载 | 1010.02 |  |  |  |
| 2．建筑结构与桥涵 |  |  |  |  |  |  |  |
| 19 | 钢网架 | 1 | 网架应力 | 1023 | 1.《钢结构工程施工质量验收规范》GB50205-2001 2.《低压流体输送用焊接钢管》GB/T3091-2008 |  | 标准 变更 |
|  |  | 2 | 网架挠度 | 1023 |  |  |  |
|  |  | 3 | 材料规格及零件偏差 | 1023 |  |  |  |
|  |  | 4 | 网架及支座尺寸位置偏差 | 1023 |  |  |  |
|  |  | 5 | 涂层厚度 | 1023 |  |  |  |
| 20 | 钢结构塔 | 1 | 钢塔中心轴线垂直度 | 1023 | 1.《微波接力通信设备安装工程施工及验收技术规范》YD 2012-1994 2.《热轧型钢》GB/T 706-2008 3.《钢结构工程施工质量验收规范》GB50205-2001 |  | 标准 变更 |
|  |  | 2 | 形位、尺寸偏差 | 1023 |  |  |  |
|  |  | 3 | 螺栓紧固 | 1023 |  |  |  |
|  |  | 4 | 镀锌质量 | 1023 |  |  |  |
|  |  | 5 | 接地电阻 | 1023 |  |  |  |
|  |  | 6 | 型材规格 | 1023 |  |  |  |
| 21 | 焊缝质量 | 1 | 内部缺陷 | 1101 | 1.《钢结构超声波探伤及质量分级法》JG/T 203-2007 2.《钢焊缝手工超声波探伤方法和探伤结果分级》GB/T 11345-1989 3.《钢结构工程施工质量验收规范》GB50205-2001 4.《无损检测焊缝磁粉检测》 JB/T 6061-2007 |  | 扩1个标准 |
|  |  | 2 | 外观质量 | 1101 |  |  |  |
| 22 | 高强螺栓 及连接副 | 1 | 扭矩系数 | 1023 | 1.《钢结构高强度螺栓连接的设计、施工及验收规程》 JGJ82-1991 2.《紧固件机械性能》 GB/T3098.1～2-2000 3.《钢结构工程施工质量验收规范》GB50205-2001 |  |  |
|  |  | 2 | 滑移系数 | 1023 |  |  |  |
|  |  | 3 | 轴力 | 1023 |  |  |  |
|  |  | 4 | 硬 度 | 1023 |  |  | 扩参数 |
| 23 | 混凝土 结构 | 1 | 内部缺陷 | 1101 | 1.《超声法检测混凝土缺陷技术规程》CECS 21：2000 2.《钻芯法检测混凝土强度技术规程》 CECS 03：2007 3.《回弹法检测混凝土抗压强度技术规程》JGJ/T 23-2001 4.《混凝土结构工程施工及验收规范》 GB 50204-2002 5.《超声回弹综合法检测混凝土强度技术规程》CECS 02：2005 |  | 标准 变更 |
|  |  | 2 | 抗压强度 | 1101 |  |  |  |
|  |  | 3 | 碳化深度 | 1101 |  |  |  |
| 24 | 砌体结构 | 1 | 抗压强度 | 1012.01 | 1.《砌体基本力学性能试验方法》GBJ 129-1990 2.《砌体工程现场检测技术 标准》GB/T 50315-2000 |  |  |
|  |  | 2 | 弹性模量 | 1101 |  |  |  |
|  |  | 3 | 抗剪强度 | 1101 |  |  |  |
| 25 | 建筑工程结构构(配)件 | 1 | 外观尺寸 | 1017 | 1.《混凝土结构工程施工质量验收规范》GB50204-2002 2.《钢结设构计规范》GB50017-2003 3.《木结设构计规范》GB50005-2003 4.《砌体结构设计规范》GB50003-2001 5.《混凝土加固设计规范》GB50367-2006 |  | 扩1个标准 |
|  |  | 2 | 承载能力 | 1017 |  |  |  |
|  |  | 3 | 挠度 | 1017 |  |  |  |
|  |  | 4 | 抗裂或裂缝宽度 | 1017 |  |  |  |
| 26 | 建（构）筑物结构工程 | 1 | 几何尺寸 | 1009.02 | 1.《民用建筑可靠性鉴定标准》 GB 50292-1999 2.《工业厂房可靠性鉴定标准》 GBJ 144-1990 3.《建筑抗震鉴定标准》GB50023-1995 4.《工业构筑物抗震鉴定标准》 GBJ 117-1988 5.《建筑结构荷载规范》 GB 50009-2001（2006年版） 6.《砌体结构设计规范》 GB 50003-2001 7.《混凝土结构设计规范》 GB 50010-2002 8.《木结构设计规范》GB 50005-2003 9.《建筑抗震设计规范》 GB 50011-2001（2008年版） 10.《构筑物抗震设计规范》 GB 50191-1993 11.《钢结构设计规范》 GB 50017-2003 12.《建筑地基基础设计规范》 GB 50007-2002 13.《建筑工程施工质量验收统一标准》GB 50300-2001 14.《混凝土结构工程施工质量验收规范》GB 50204-2002 15.《木结构工程施工质量验收规范》 GB50206-2002 16.《砌体工程施工质量验收规范》 GB 50203-2002 17.《钢结构工程施工质量验收规范》 GB 50205-2001 18.《建筑抗震试验方法规程》JGJ101-1996 |  | 标准变更 |
|  |  | 2 | 变形 | 1017 |  |  |  |
|  |  | 3 | 裂缝 | 1017 |  |  |  |
|  |  | 4 | 钢筋保护层厚度 | 1017 |  |  |  |
|  |  | 5 | 承载能力 | 1017 |  |  |  |
|  |  | 6 | 焊缝探伤 | 0303.10 |  |  |  |
|  |  | 7 | 覆层厚度 | 0355.01 |  |  |  |
|  |  | 8 | 结构自振频率 | 1408.03 |  |  |  |
|  |  | 9 | 结构阻尼比 | 1408.02 |  |  |  |
|  |  | 10 | 结构振型 | 1408.03 |  |  |  |
|  |  | 11 | 动力反应 最大幅值 | 1410 |  |  |  |
| 27 | 加固材料 | 1 | 胶体抗拉强度 | 1016 | 1.《纤维增强复合材料加固混凝土结构技术规程》DG/TJ 08-012-2002 2.《碳纤维片材加固技术规程》 CECS146：2003（2007年版） 3.《混凝土结构后锚固技术规程》 JGJ 145-2004 4.《树脂浇铸体性能试验方法》 GB/T 2567-2008 5.《塑料试样状态调节和试验环境》 GB/T 2918-1998 6.《胶粘剂对接接头拉伸强度的测定》GB/T 6329-1996 7.《胶粘剂 拉伸剪切强度的测定(刚性材料对刚性材料)》 GB/T 7124-2008 8.《胶粘剂-不均匀扯离强度试验方法(金属与金属)》GJB 94-1986 9.《胶粘剂劈裂强度试验方法(金属对金属)》GB/T 7749-1987 10.《胶粘剂T剥离强度试验方法挠性材料对挠性材料》GB/T2791-1995 11.《胶粘剂不挥发物含量的测定》 GB/T 2793-1995 12.《胶粘剂粘度的测定》 GB/T 2794-1995 13.《硅酮建筑密封胶》 GB/T 14683-2003 14.《建筑密封材料试验方法》 GB/T 13477.1～.20-2002 15.《胶粘剂适用期的测定》 GB/T 7123.1-2002 16.《胶粘剂贮存期的测定》 GB/T 7123.2-2002 17.《胶粘剂的pH值测定》 GB/T 14518-1993 18.《纤维增强塑料性能试验方法总则》GB/T 1446-2005 19.《增强制品试验方法 第3部分：单位面积质量的测定》 GB/T 9914.3-2001 20.《增强制品试验方法 第1部分：含水率的测定》GB/T 9914.1-2001 21.《定向纤维增强塑料拉伸性能试验方法》GB/T 3354-1999 22.《单向纤维增强塑料弯曲性能试验方法》GB/T 3356-199 23.《碳纤维复合材料层合板II型层间断裂韧性GIIC试验方法》 HB 7403-1996 24.《混凝土结构加固设计规范》GB50367-2006 |  | 标准 变更/扩1个标准 |
|  |  | 2 | 抗拉弹性模量 | 1016 |  |  |  |
|  |  | 3 | 伸长率 | 1016 |  |  |  |
|  |  | 4 | 胶体抗压强度 | 1016 |  |  |  |
|  |  | 5 | 抗压弹性模量 | 1016 |  |  |  |
|  |  | 6 | 胶体抗弯强度 | 1016 |  |  |  |
|  |  | 7 | 抗弯弹性模量 | 1016 |  |  |  |
|  |  | 8 | 粘结抗拉强度 | 1016 |  |  |  |
|  |  | 9 | 拉伸抗剪强度 | 1016 |  |  |  |
|  |  | 10 | 不均匀扯离强度 | 1016 |  |  | 扩参数 |
|  |  | 11 | 劈裂抗拉强度 | 1016 |  |  |  |
|  |  | 12 | T剥离强度 | 1016 |  |  |  |
|  |  | 13 | 与混凝土的正拉粘结强度 | 1016 |  |  |  |
|  |  | 14 | 套筒式钢对钢拉伸抗剪强度 | 1016 |  |  |  |
|  |  | 15 | 单向纤维增强复合材的抗拉强度 | 1016 |  |  |  |
|  |  | 16 | 单向纤维增强复合材的受拉弹性模量 | 1016 |  |  |  |
|  |  | 17 | 单向纤维增强复合材的伸长率 | 1016 |  |  |  |
| 28 | 加固质量 | 1 | 表面含水率 | 1101 | 1.《建筑工程施工质量验收统一标准》GB 50300-2001 2.《纤维增强复合材料加固混凝土结构技术规程》DG/TJ 08-012-2002 3.《混凝土结构后锚固技术规程》 JGJ 145-2004 4.《超声法检测混凝土缺陷技术规程》 CECS 21：2000 5.《回弹法检测混凝土抗压 强度技术规程》JGJ/T 23—2001 6.《超声回弹综合法检测混凝土强度技术规程》CECS02：2005 7.《碳纤维片材加固混凝土结构技术规程》CECS 146:2003（2007版） 8.《硫化橡胶或热塑性橡胶 压入硬度试验方法 第1部分：邵氏硬度计法（邵尔硬度）》GB/T531.1-2008 9.《建筑锚栓抗拉拨、抗剪性能试验方法》DG/TJ08-003-2000 10.《混凝土结构加固设计规范》GB50367-2006 11.《建筑结构加固工程施工质量验收规范》GB50×××-2009 |  | 标准 变更/扩1个标准 |
|  |  | 2 | 空鼓面积 及空鼓率 | 1101 |  |  |  |
|  |  | 3 | 混凝土补强前后抗压强度 | 1101 |  |  |  |
|  |  | 4 | 粘接正拉强度 | 1101 |  |  |  |
|  |  | 5 | 胶层硬度 | 1101 |  |  |  |
|  |  | 6 | 抗拔承载力 | 1101 |  |  |  |
| 29 | 大体积混凝土 | 1 | 温度 | 1002.22 | 1.《高层建筑施工技术规程》JGJ3-2002 2.《块体基础大体积混凝土施工技术规程》YBJ224-1991 3.《混凝土结构工程施工及验收规范》GB50204-2002 4.《高层建筑箱形与筏板基础技术规范》JGJ6-1999 |  |  |
| 30 | 桥涵 | 1 | 静态应力 | 1018 | 1.交通部公路局《公路旧桥承载能力鉴定方法》（试行，1988） 2.交通部《大跨径混凝土桥梁的试验方法》（1982） 3.《公路桥涵设计通用规范》 JTG D60-2004 4.《公路钢筋混凝土及预应力混凝土桥涵设计规范》JTG D62-2004 5.《混凝土结构试验方法标准》GB50152-1992 |  |  |
|  |  | 2 | 动态应力 | 1018 |  |  |  |
|  |  | 3 | 位移（挠度） | 1018 |  |  |  |
|  |  | 4 | 裂缝 | 1018 |  |  |  |
| 3．地基基础 |  |  |  |  |  |  |  |
| 31 | 天然地基 复合地基 | 1 | 承载力 | 1017 | 1.《建筑地基基础设计规范》GB50007-2002 2.《建筑地基处理技术规范》JGJ79-2002 |  |  |
| 32 | 基桩 | 1 | 竖向极限 承载力 | 1017 | 1.《建筑基桩检测技术规范》JGJ106-2003 |  |  |
|  |  | 2 | 桩身完整性 | 1017 | 1.《建筑基桩检测技术规范》JGJ106-2003 |  |  |
| 4．防水材料、涂料 |  |  |  |  |  |  |  |
| 33 | 防水卷材 | 1 | 可溶物含量 | 1007.09 | 1.《弹性体改性沥青防水卷材》 GB 18242-2000 2.《塑性体改性沥青防水卷材》 GB 18243-2000 3.《沥青复合胎柔性防水卷材》 JC/T690-2008 |  | 标准 变更 |
|  |  | 2 | 不透水性 | 1007.09 |  | 仅测B法 |  |
|  |  | 3 | 耐热度 | 1007.09 |  |  |  |
|  |  | 4 | 拉力 | 1007.09 |  |  |  |
|  |  | 5 | 低温柔度 | 1007.09 |  |  |  |
|  |  | 6 | 最大拉力时延伸率 | 1007.09 | 1.《弹性体改性沥青防水卷材》 GB 18242-2000 2.《塑性体改性沥青防水卷材》 GB 18243-2000 |  |  |
|  |  | 7 | 撕裂强度 | 1007.09 |  |  |  |
|  |  | 8 | 外观/尺寸/卷重 | 1007.09 |  |  |  |
| 34 | 高分子防水材料（片材） | 1 | 断裂拉伸强度 | 1016 | 1.《高分子防水材料 第1部分：片材》GB18173.1-2006 2.《聚氯乙烯防水卷材》GB12952-2003 3.《氯化聚乙烯防水卷材》 GB12953-2003 |  |  |
|  |  | 2 | 扯断伸长率 | 1016 |  |  |  |
|  |  | 3 | 低温弯折 | 1016 |  |  |  |
|  |  | 4 | 热处理尺寸变化率 | 1016 |  |  |  |
|  |  | 5 | 不透水性 | 1016 | 1.《聚氯乙烯防水卷材》GB12952-2003 2.《氯化聚乙烯防水卷材》 GB12953-2003 | 仅测B法 |  |
|  |  | 6 | 撕裂强度 | 1016 | 1.《高分子防水材料 第1部分：片材》GB18173.1-2006 |  |  |
| 35 | 防水涂料 | 1 | 固体含量 | 1016 | 1.《聚合物水泥防水涂料》 JC/T 894-2001 2.《聚合物乳液建筑防水涂料》 JC/T 864-2008 3.《聚氨酯防水涂料》 GB/T 19250-2003 |  | 标准 变更 |
|  |  | 2 | 拉伸强度 | 1016 |  |  |  |
|  |  | 3 | 断裂伸长率 | 1016 |  |  |  |
|  |  | 4 | 低温柔性 | 1016 |  |  |  |
|  |  | 5 | 潮湿基面粘接强度 | 1016 |  |  |  |
|  |  | 6 | 涂膜表干时间 | 1016 |  |  |  |
|  |  | 7 | 涂膜实干时间 | 1016 |  |  |  |
|  |  | 8 | 不透水性 | 1016 | 1.《聚合物水泥防水涂料》 JC/T 894-2001 2.《聚氨酯防水涂料》 GB/T 19250-2003 | 仅测B法 |  |
|  |  | 9 | 抗渗性 | 1016 | 1.《聚合物水泥防水涂料》 JC/T 894-2001 |  |  |
| 36 | 建筑涂料 | 1 | 容器中状态 | 1016 | 1.《合成树脂乳液外墙涂料》 GB/T 9755-2001 2.《合成树脂乳液内墙涂料》 GB/T 9756-2001 |  |  |
|  |  | 2 | 施工性 | 1016 |  |  |  |
|  |  | 3 | 低温稳定性 | 1016 |  |  |  |
|  |  | 4 | 干燥时间 | 1016 |  |  |  |
|  |  | 5 | 涂膜外观 | 1016 |  |  |  |
|  |  | 6 | 对比率 | 1016 |  |  |  |
|  |  | 7 | 耐碱性 | 1016 |  |  |  |
|  |  | 8 | 耐洗刷性 | 1016 |  |  |  |
|  |  | 9 | 涂层耐温变性 | 1016 | 1.《合成树脂乳液外墙涂料》 GB/T 9755-2001 |  |  |
|  |  | 10 | 耐沾污性 | 1016 |  |  |  |
|  |  | 11 | 耐水性 | 1016 |  |  |  |
| 5．建筑门窗、幕墙及材料 |  |  |  |  |  |  |  |
| 37 | 建筑门窗 | 1 | 抗风压 | 1017 | 1.《建筑外门窗气密、水密、抗风压性能分级及检测方法》 GB/T 7106-2008 |  | 标准 变更 |
|  |  | 2 | 气密性 | 1017 |  |  |  |
|  |  | 3 | 水密性 | 1017 |  |  |  |
| 38 | 幕墙及材料 | 1 | 骨架材料 | 1024 | 1.《玻璃幕墙工程质量检验标准》JGJ/T139-2001 2.《玻璃幕墙工程技术规范》JGJ102-2003 3.《金属与石材幕墙工程技术规范》 JGJ 133-2001 4.《建筑幕墙气密、水密、抗风压性能检测方法》GB/T15227-2007 5.《建筑幕墙平面内变形性能检测方法》GB/T18250-2000 6.《建筑幕墙用铝塑复合板》GB/T17748-2008 7.《建筑用硅酮结构密封胶》GB16776-2005 8.《干挂石材幕墙用环氧粘胶剂》JC 887-2001 9.《硅酮建筑密封胶》GB/T14683-2003 |  |  |
|  |  | 2 | 安装偏差 | 1024 |  |  |  |
|  |  | 3 | 相容性试验 | 1024 |  |  | 扩参数/扩6个标准 |
|  |  | 4 | 拉伸粘结性 | 1024 |  |  |  |
|  |  | 5 | 定伸粘结性 | 1024 |  |  |  |
|  |  | 6 | 拉剪强度 | 1024 |  |  |  |
|  |  | 7 | 压剪强度 | 1024 |  |  |  |
|  |  | 8 | 石材弯曲强度 | 1024 |  |  |  |
|  |  | 9 | 铝塑板剥离强度 | 1024 |  |  |  |
|  |  | 10 | 气密、水密、抗风压、平面变形性能试验 | 1024 |  |  |  |
|  |  | 11 | 防火、防雷相关参数 | 1024 |  |  |  |
| 6．室内环境污染检测 |  |  |  |  |  |  |  |
| 39 | 民用建筑室内环境污染 | 1 | 空气中氡 | 1016 | 1.《民用建筑工程室内环境污染控制规范》GB 50325-2001（2006） 2.《环境空气中氡的标准测量方法》GB/T 14582-1993 3.《公共场所空气中甲醛测定方法》GB/T 18204.26-2000 4.《公共场所空气中氨测定方法》 GB/T 18204.25-2000 5.《建筑材料放射性核素限量》 GB 6566-2001 6.《混凝土外加剂中释放氨的限量》GB 18588-2001 | 只用活性炭盒法 |  |
|  |  | 2 | 空气中游离甲醛 | 1016 |  |  |  |
|  |  | 3 | 空气中氨 | 1016 |  |  |  |
|  |  | 4 | 空气中苯 | 1016 |  |  |  |
|  |  | 5 | 空气中TVOC | 1016 |  |  |  |
|  |  | 6 | 土壤中氡 | 1016 |  |  |  |
|  |  | 7 | 无机非金属建筑材料放射性 | 1016 |  |  |  |
|  |  | 8 | 混凝土外加剂 中氨 | 1016 |  |  |  |
| 40 | 人造木工板及饰面板 | 1 | 游离甲醛 释放量 | 1016 | 1.《人造板及饰面人造板理化性能试验方法》GB/T 17657-1999 2.《室内装饰材料人造板及其制品中甲醛释放限量》GB 18580-2001 | 不用环境测试舱法 |  |
|  | 7．建筑节能 |  |  |  |  |  |  |
| 41 | 建筑门窗 | 1 | 传热 系数 | 1016 | 1.《建筑外门窗保温性能分级及检测方法》GB/T 8484-2008 |  | 标准变更 |
| 42 | 建筑构件 | 1 | 传热 系数 | 1016 | 1.《绝热 稳态传热性质的测定 标定和防护热箱法》GB/T 13475-2008 |  | 标准变更 |
| 43 | 外墙保温系统 | 1 | 耐候性 | 1016 | 1.《外墙外保温工程技术规程》 JGJ 144-2004 2.《膨胀聚苯板薄抹灰外墙外保温系统》JG 149-2003 3.《胶粉聚苯颗粒外墙外保温系统》 JG 158-2004 |  |  |
|  |  | 2 | 抗风压 | 1016 |  |  | 扩参数 |
|  |  | 3 | 吸水量 | 1016 |  |  |  |
|  |  | 4 | 抗冲击强度 | 1016 |  |  |  |
|  |  | 5 | 耐冻融 | 1016 |  |  |  |
|  |  | 6 | 水蒸气湿流密度 | 1016 |  |  |  |
|  |  | 7 | 不透水 | 1016 |  |  |  |
|  |  | 8 | 耐磨损 | 1016 |  |  |  |
|  |  | 9 | 系统抗拉强度 | 1016 |  |  |  |
| 44 | 绝热材料及其制品 | 1 | 粒度 | 1016 | 1.《膨胀珍珠岩》 JC/T 209-1992（1996） 2.《膨胀珍珠岩绝热制品》 GB/T 10303-2001 3.《膨胀蛭石制品》 JC/T 442-1991（1996） 4.《无机硬质绝热制品试验方法》 GB/T 5486-2008 5.《绝热材料稳态热阻及有关特性的测定 防护热板法》GB/T 10294-2008 6.《绝热材料稳态热阻及有关特性的测定 热流计法》GB/T 10295-2008 7.《硅酸盐复合绝热涂料》 GB/T 17371-2008 |  | 标准变更 |
|  |  | 2 | 密度 | 1016 |  |  |  |
|  |  | 3 | 含水率 | 1016 |  |  |  |
|  |  | 4 | 抗压强度 | 1016 |  |  |  |
|  |  | 5 | 抗折强度 | 1016 |  |  |  |
|  |  | 6 | 导热系数 （常温） | 1016 |  |  |  |
| 45 | 模塑聚苯 乙烯板 | 1 | 规格尺寸 | 1016 | 1.《绝热用模塑聚苯乙烯泡沫塑料（EPS）》GB/T 10801.1－2002 |  | 扩项 |
|  |  | 2 | 外观质量 | 1016 |  |  |  |
|  |  | 3 | 表观密度 | 1016 |  |  |  |
|  |  | 4 | 压缩强度 | 1016 |  |  |  |
|  |  | 5 | 导热系数 | 1016 |  |  |  |
|  |  | 6 | 水蒸气透过系数 | 1016 |  |  |  |
|  |  | 7 | 吸水率 | 1016 |  |  |  |
|  |  | 8 | 尺寸稳定性 | 1016 |  |  |  |
| 46 | 挤塑聚苯 乙烯板 | 1 | 规格尺寸 | 1016 | 1.《绝热用挤塑聚苯乙烯泡沫塑料（XPS）》GB/T 10801.2－2002 |  | 扩项 |
|  |  | 2 | 外观质量 | 1016 |  |  |  |
|  |  | 3 | 压缩强度 | 1016 |  |  |  |
|  |  | 4 | 吸水率 | 1016 |  |  |  |
|  |  | 5 | 透湿系数 | 1016 |  |  |  |
|  |  | 6 | 绝热性能 | 1016 |  |  |  |
|  |  | 7 | 尺寸稳定性 | 1016 |  |  |  |
| 47 | 硬质聚氨酯泡沫塑料 | 1 | 密度 | 1016 | 1.《建筑物隔热用硬质聚氨脂泡沫塑料》QB/T3806-1999 2.《硬泡聚氨脂保温防水工程技术规范》GB50404-2007 |  | 扩项 |
|  |  | 2 | 压缩性能 | 1016 |  |  |  |
|  |  | 3 | 垂直于板面方向的抗拉强度 | 1016 |  |  |  |
|  |  | 4 | 导热系数 | 1016 |  |  |  |
|  |  | 5 | 吸水率 | 1016 |  |  |  |
|  |  | 6 | 尺寸稳定性 | 1016 |  |  |  |
| 48 | 建筑外墙用腻子 | 1 | 容器中状态 | 1016 | 1.《建筑外墙用腻子》JG/T157-2004 |  | 扩项 |
|  |  | 2 | 施工性 | 1016 |  |  |  |
|  |  | 3 | 干燥时间 | 1016 |  |  |  |
|  |  | 4 | 打磨性 | 1016 |  |  |  |
|  |  | 5 | 耐水性 | 1016 |  |  |  |
|  |  | 6 | 耐碱性 | 1016 |  |  |  |
|  |  | 7 | 粘结强度 | 1016 |  |  |  |
|  |  | 8 | 低温存贮稳定性 | 1016 |  |  |  |
|  |  | 9 | 柔韧性 | 1016 |  |  |  |
| 49 | 胶粉聚苯颗粒保温浆料 | 1 | 干湿表观密度 | 1016 | 1.《胶粉聚苯颗粒外墙外保温系统 》JG 158-2004 |  | 扩项 |
|  |  | 2 | 导热系数 | 1016 |  |  |  |
|  |  | 3 | 蓄热系数 | 1016 |  |  |  |
|  |  | 4 | 抗压强度 | 1016 |  |  |  |
|  |  | 5 | 压剪粘接强度 | 1016 |  |  |  |
|  |  | 6 | 线性收缩率 | 1016 |  |  |  |
|  |  | 7 | 软化系数 | 1016 |  |  |  |
| 50 | 建筑保温砂浆 | 1 | 干表观密度 | 1016 | 1.《建筑保温砂浆》 GB/T20473-2006 2.《水泥基复合膨胀玻化微珠建筑保温系统技术规程》DB51/T5061-2008 |  | 扩项 |
|  |  | 2 | 导热系数 | 1016 |  |  |  |
|  |  | 3 | 蓄热系数 | 1016 |  |  |  |
|  |  | 4 | 抗压强度 | 1016 |  |  |  |
|  |  | 5 | 压剪粘结强度 | 1016 |  |  |  |
|  |  | 6 | 线性收缩率 | 1016 |  |  |  |
|  |  | 7 | 软化系数 | 1016 |  |  |  |
| 51 | 胶粘剂、抹面胶浆 | 1 | 拉伸粘接强度 | 1016 | 1.《膨胀聚苯板薄抹灰外墙外保温系统 》JG 149-2003 |  | 扩项 |
|  |  | 2 | 可操作时间 | 1016 |  |  |  |
|  |  | 3 | 柔韧性（压折比） | 1016 |  |  |  |
| 52 | 界面砂浆 | 1 | 原强度 | 1016 | 1.《胶粉聚苯颗粒外墙外保温系统 》JG 158-2004 |  | 扩项 |
|  |  | 2 | 耐水 | 1016 |  |  |  |
|  |  | 3 | 耐冻融 | 1016 |  |  |  |
| 53 | 面砖粘结砂浆 | 1 | 拉伸粘接强度 | 1016 | 1.《胶粉聚苯颗粒外墙外保温系统 》JG 158-2004 |  | 扩项 |
|  |  | 2 | 压折比 | 1016 |  |  |  |
|  |  | 3 | 压剪粘接强度 | 1016 |  |  |  |
|  |  | 4 | 线性收缩率 | 1016 |  |  |  |
| 54 | 抗裂砂浆 | 1 | 不挥发物含量 | 1016 | 1.《胶粉聚苯颗粒外墙外保温系统》JG 158-2004 |  | 扩项 |
|  |  | 2 | 储存稳定性 | 1016 |  |  |  |
|  |  | 3 | 可使用时间 | 1016 |  |  |  |
|  |  | 4 | 拉伸粘接强度 | 1016 |  |  |  |
|  |  | 5 | 浸水拉伸强度 | 1016 |  |  |  |
|  |  | 6 | 压折比 | 1016 |  |  |  |
| 55 | 耐碱玻纤网格布 | 1 | 外观 | 1016 | 1.《膨胀聚苯板薄抹灰外墙外保温系统》JG 149-2003 2.《胶粉聚苯颗粒外墙外保温系统》JG 158-2004 3.《外墙外保温工程技术规程》 JGJ 144-2004 | 不测玻璃成分 | 扩项 |
|  |  | 2 | 长度、宽度 | 1016 |  |  |  |
|  |  | 3 | 网孔中心距 | 1016 |  |  |  |
|  |  | 4 | 单位面积质量 | 1016 |  |  |  |
|  |  | 5 | 断裂强力 | 1016 |  |  |  |
|  |  | 6 | 耐碱强力保留率 | 1016 |  |  |  |
|  |  | 7 | 断裂伸长率 | 1016 |  |  |  |
|  |  | 8 | 涂塑量 | 1016 |  |  |  |
| 56 | 热镀锌电焊网 | 1 | 丝径 | 1016 | 1.《胶粉聚苯颗粒外墙外保温系统 》JG 158-2004 2.《外墙外保温工程技术规程》JGJ 144-2004 |  | 扩项 |
|  |  | 2 | 网孔大小 | 1016 |  |  |  |
|  |  | 3 | 焊点抗拉力 | 1016 |  |  |  |
|  |  | 4 | 镀锌层质量 | 1016 |  |  |  |
| 57 | 锚栓 | 1 | 规格尺寸 | 1016 | 1.《膨胀聚苯板薄抹灰外墙外保温系统 》JG 149-2003 2.《胶粉聚苯颗粒外墙外保温系统 》JG 158-2004 |  | 扩项 |
|  |  | 2 | 抗拉承载力 | 1016 |  |  |  |
|  |  | 3 | 传热增加值 | 1016 |  |  |  |
| 58 | 膨胀玻化微珠 | 1 | 堆积密度 | 1016 | 1.《膨胀玻化微珠》JC/T1042-2007 |  | 扩项 |
|  |  | 2 | 桶压强度 | 1016 |  |  |  |
|  |  | 3 | 导热系数 | 1016 |  |  |  |
|  |  | 4 | 体积吸水率 | 1016 |  |  |  |
|  |  | 5 | 体积漂浮率 | 1016 |  |  |  |
|  |  | 6 | 闭孔率 | 1016 |  |  |  |
| 59 | 中空玻璃 | 1 | 露点 | 1016 | 1.《中空玻璃》GB/T11944-2002 |  | 扩项 |
| 60 | 建筑外墙质量 | 1 | 粘结缺陷 | 1016 | 1.《红外热像法检测建筑外墙饰面层粘结缺陷技术规程》CECS204:2006 |  | 扩项 |
| 61 | 面砖勾缝剂 | 1 | 外观 | 1016 | 1.《胶粉聚苯颗粒外墙外保温系统 》JG 158-2004 2.《外墙外保温工程技术规程》JGJ 144-2004 |  | 扩项 |
|  |  | 2 | 颜色 | 1016 |  |  |  |
|  |  | 3 | 凝结时间 | 1016 |  |  |  |
|  |  | 4 | 拉伸粘接强度 | 1016 |  |  |  |
|  |  | 5 | 压折比 | 1016 |  |  |  |
|  |  | 6 | 透水性 | 1016 |  |  |  |
| 8．通风空调 |  |  |  |  |  |  |  |
| 62 | 通风、空调采暖系统 | 1 | 温度 | 1405 | 1.《通风与空调工程施工质量验收规范》GB50243-2002 2.《采暖居住建筑节能检验标准》JGJ132-2001 3.《建筑节能工程施工质量验收规范》GB50411-2007 4.《可再生能源建筑应用示范项目测评导则》/2、3、4 5.《公共场所空气温度测定方法》GB/T18204.13-2000 6.《公共场所空气湿度测定方法》GB/T18204.14-2000 7.《公共场所气压测定方法》 GB/T 18204·16-2000 8.《公共场所风速测定方法》 GB/T 18204·15-2000 9.《公共场所噪声测定方法》 GB/T 18204·22-2000 10.《采暖通风与空气调节设备噪声声功率级的测定 工程法》 GB 9068-1988 |  | 扩项 |
|  |  | 2 | 空气湿度 | 1405 |  |  |  |
|  |  | 3 | 流量 | 1405 |  |  |  |
|  |  | 4 | 压力 | 1405 |  |  |  |
|  |  | 5 | 电压 | 1405 |  |  |  |
|  |  | 6 | 电流 | 1405 |  |  |  |
|  |  | 7 | 输入功率 | 1405 |  |  |  |
|  |  | 8 | 电频率 | 1405 |  |  |  |
|  |  | 9 | 功率因数 | 1405 |  |  |  |
|  |  | 10 | 风速 | 1405 |  |  |  |
|  |  | 11 | 噪声 | 1405 |  |  |  |
| 63 | 太阳能光热、光电系统 | 1 | 温度 | 1405 | 1.《可再生能源建筑应用示范项目测评导则》/2、3、4 2.《太阳热水系统设计、安装及工程验收技术规范》 GB/T 18713－2002 |  | 扩项 |
|  |  | 3 | 流量 | 1405 |  |  |  |
|  |  | 4 | 风速 | 1405 |  |  |  |
|  |  | 11 | 压力 | 1405 |  |  |  |
|  |  | 12 | 输入(输出)功率 | 1405 |  |  |  |
|  |  | 13 | 太阳能辐照度 | 1405 |  |  |  |
| 64 | 建筑照明系统 | 1 | 平均照度 | 1405 | 1.《建筑节能工程施工质量验收规范》GB50411-2007 2.《公共场所照度测定方法》GB/T18204·21-2000 |  | 扩项 |
|  |  |  | 照明功率密度 | 1405 |  |  |  |
| 9．施工机械（机具） |  |  |  |  |  |  |  |
| 65 | 塔式起重机 | 1 | 结构应力 | 0304.04 | 1.《塔式起重机》GB/T 5031-2008 2.《塔式起重机安全规程》GB5144-2006 3.《塔式起重机设计规范》 GB/T13752-1992 |  | 标准 变更 |
|  |  | 2 | 结构动特性 | 0304.04 |  |  |  |
|  |  | 3 | 结构位移 | 0304.04 |  |  |  |
|  |  | 4 | 性能参数 | 0304.04 |  |  |  |
|  |  | 5 | 空载 | 0304.04 |  |  |  |
|  |  | 6 | 载荷 | 0304.04 |  |  |  |
|  |  | 7 | 外观检查 | 0304.04 |  |  |  |
|  |  | 8 | 连续作业 试验 | 0304.04 |  |  |  |
|  |  | 9 | 安全装置 | 0304.04 |  |  |  |
|  |  | 10 | 可靠性 | 0304.04 |  |  |  |
|  |  | 11 | 安全要求 | 0304.04 |  |  |  |
| 66 | 建筑 钢模板 | 1 | 外观尺寸 | 1017 | 1.《组合钢模板技术规范》 GB 50214-2001 |  |  |
|  |  | 2 | 力学性能 | 1017 |  |  |  |
| 67 | 混凝土 搅拌机 | 1 | 搅拌时间 | 1026 | 1.《混凝土搅拌机》GB/T9142-2000 |  |  |
|  |  | 2 | 卸料时间 | 1026 |  |  |  |
|  |  | 3 | 工作周期 | 1026 |  |  |  |
|  |  | 4 | 供水精度 | 1026 |  |  |  |
|  |  | 5 | 干搅拌能力 | 1026 |  |  |  |
|  |  | 6 | 能耗 | 1026 |  |  |  |
|  |  | 7 | 噪声 | 1026 |  |  |  |
|  |  | 8 | 混凝土匀质性 | 1026 |  |  |  |
|  |  | 9 | 卸料高度 | 1026 |  |  |  |
|  |  | 10 | 操作力 | 1026 |  |  |  |
|  |  | 11 | 进料口的径跳端跳 | 1026 |  |  |  |
|  |  | 12 | 润滑油温升 | 1026 |  |  |  |
|  |  | 13 | 间隙 | 1026 |  |  |  |
|  |  | 14 | 可靠性 | 1026 |  |  |  |
| 68 | 混凝土 搅拌站 | 1 | 生产能力 | 1026 | 1.《混凝土搅拌站（楼）》 GB/T 10171-2005 |  | 标准 变更 |
|  |  | 2 | 搅拌时间 | 1026 |  |  |  |
|  |  | 3 | 能耗 | 1026 |  |  |  |
|  |  | 4 | 塌落度差值 | 1026 |  |  |  |
|  |  | 5 | 配料精度 | 1026 |  |  |  |
|  |  | 6 | 噪声 | 1026 |  |  |  |
|  |  | 7 | 超载能力 | 1026 |  |  |  |
|  |  | 8 | 外观 | 1026 |  |  |  |
| 69 | 混凝土空心板挤压成型机 | 1 | 成型速度 | 1026 | 1.《混凝土空心板挤压成型机》JG/T113-1999 |  |  |
|  |  | 2 | 空心板质量 | 1026 |  |  |  |
|  |  | 3 | 振幅偏离率 | 1026 |  |  |  |
|  |  | 4 | 噪声 | 1026 |  |  |  |
|  |  | 5 | 绝缘 | 1026 |  |  |  |
|  |  | 6 | 间隙 | 1026 |  |  |  |
|  |  | 7 | 螺旋器径跳与侧板对称度 | 1026 |  |  |  |
|  |  | 8 | 螺旋器的 工作寿命 | 1026 |  |  |  |
|  |  | 9 | 油温 | 1026 |  |  |  |
| 70 | 小砌块 成型机 | 1 | 成型周期 | 1026 | 1.《小型砌块成型机》GB/T8533-2008 |  | 标准 变更 |
|  |  | 2 | 模箱振幅偏离量 | 1026 |  |  |  |
|  |  | 3 | 砌块外形尺寸 | 1026 |  |  |  |
|  |  | 4 | 整机能耗 | 1026 |  |  |  |
|  |  | 5 | 运转情况 | 1026 |  |  |  |
|  |  | 6 | 外观 | 1026 |  |  |  |
|  |  | 7 | 电气系统 | 1026 |  |  |  |
|  |  | 8 | 模箱振动加速度 | 1026 |  |  |  |
|  |  | 9 | 机架振幅 | 1026 |  |  |  |
|  |  | 10 | 砌块强度 | 1026 |  |  |  |
|  |  | 11 | 可靠性 | 1026 |  |  |  |
|  |  | 12 | 压脚板与模箱间隙 | 1026 |  |  | 扩参数 |
|  |  | 13 | 驱动马达转速差 | 1026 |  |  |  |
| 71 | 钢筋切断机 | 1 | 外观质量 | 1026 | 1.《钢筋切断机》 JG/T5085-1996 |  |  |
|  |  | 2 | 空载 | 1026 |  |  |  |
|  |  | 3 | 负载 | 1026 |  |  |  |
|  |  | 4 | 离合器 | 1026 |  |  |  |
|  |  | 5 | 操作力 | 1026 |  |  |  |
|  |  | 6 | 噪声 | 1026 |  |  |  |
|  |  | 7 | 温升 | 1026 |  |  |  |
|  |  | 8 | 飞轮转速降 | 1026 |  |  |  |
|  |  | 9 | 机身危险 断面应力 | 1026 |  |  |  |
|  |  | 10 | 接触线长度 | 1026 |  |  |  |
|  |  | 11 | 可靠性 | 1026 |  |  |  |
| 72 | 施工升降机 | 1 | 标志与成套性 | 1026 | 1.《施工升降机安全规则》GB10055-2007 2.《施工升降机》GB/T 10054-2005 3.《施工升降机齿轮椎鼓形渐进式防坠安全器》JG 121-2000 |  |  |
|  |  | 2 | 焊缝质量 | 1026 |  |  | 扩参数 |
|  |  | 3 | 重要焊缝几何形状与尺寸 | 1026 |  |  |  |
|  |  | 4 | 紧固件连接 | 1026 |  |  |  |
|  |  | 5 | 涂漆质量 | 1026 |  |  |  |
|  |  | 6 | 铸件质量 | 1026 |  |  |  |
|  |  | 7 | 密封 | 1026 |  |  |  |
|  |  | 8 | 传动系统 | 1026 |  |  |  |
|  |  | 9 | 电气 | 1026 |  |  |  |
|  |  | 10 | 锁止装置及电气安全装置 | 1026 |  |  |  |
|  |  | 11 | 齿条对接阶差 | 1026 |  |  | 扩参数/扩1个标准 |
|  |  | 12 | 标节截面对角线 | 1026 |  |  |  |
|  |  | 13 | 导轨节点阶差 | 1026 |  |  |  |
|  |  | 14 | 缓冲器 | 1026 |  |  |  |
|  |  | 15 | 超载保护装置 | 1026 |  |  |  |
|  |  | 16 | 检查与测量 | 1026 |  |  |  |
|  |  | 17 | 稳定性试验 | 1026 |  |  |  |
|  |  | 18 | 安装试验 | 1026 |  |  |  |
|  |  | 19 | 空载试验 | 1026 |  |  |  |
|  |  | 20 | 额载试验 | 1026 |  |  |  |
|  |  | 21 | 超载试验 | 1026 |  |  |  |
|  |  | 22 | 噪声测定 | 1026 |  |  |  |
|  |  | 23 | 速度测定 | 1026 |  |  |  |
|  |  | 24 | 温升测定 | 1026 |  |  |  |
|  |  | 25 | 坠落及防坠器试验 | 1026 |  |  | 只测定期检验 |
|  |  | 26 | 安装垂直度 | 1026 |  |  | 扩参数 |
|  |  | 27 | 结构应力测定 | 1026 |  |  |  |
|  |  | 28 | 可靠性试验 | 1026 |  |  |  |
| 73 | 建筑 卷扬机 | 1 | 额定速度 | 1026 | 1.《建筑卷扬机》GB/T1955-2008 |  | 标准 变更 |
|  |  | 2 | 制动距离 | 1026 |  |  |  |
|  |  | 3 | 噪声 | 1026 |  |  |  |
|  |  | 4 | 操作力及行程 | 1026 |  |  |  |
|  |  | 5 | 离合器分离和接合 | 1026 |  |  |  |
|  |  | 6 | 外观质量 | 1026 |  |  |  |
|  |  | 7 | 电气 | 1026 |  |  |  |
|  |  | 8 | 可靠性 | 1026 |  |  |  |
|  |  | 9 | 超载试验 | 1026 |  |  |  |
|  |  | 10 | 降电压起动 | 1026 |  |  |  |
|  |  | 11 | 温升 | 1026 |  |  |  |
|  |  | 12 | 渗漏 | 1026 |  |  |  |
|  |  | 13 | 卷筒节径与钢丝绳直径的比值 | 1026 |  |  |  |
| 74 | 钢筋 弯曲机 | 1 | 外观质量 | 1026 | 1．《钢筋弯曲机》JG/T5081-1996 |  |  |
|  |  | 2 | 绝缘 | 1026 |  |  |  |
|  |  | 3 | 接地标志 | 1026 |  |  |  |
|  |  | 4 | 空载 | 1026 |  |  |  |
|  |  | 5 | 空载功率 | 1026 |  |  |  |
|  |  | 6 | 噪声 | 1026 |  |  |  |
|  |  | 7 | 弯曲速度 | 1026 |  |  |  |
|  |  | 8 | 温升 | 1026 |  |  |  |
|  |  | 9 | 空载电流 | 1026 |  |  |  |
|  |  | 10 | 负载功率 | 1026 |  |  |  |
|  |  | 11 | 负载电流 | 1026 |  |  |  |
|  |  | 12 | 负载工作 盘转速 | 1026 |  |  |  |
|  |  | 13 | 减速箱及 液压管路 | 1026 |  |  |  |
|  |  | 14 | 可靠性 | 1026 |  |  |  |

附表2                                        任务编号：L01957-2008-01

推荐批准的实验室检测能力范围(英文)

Lab：Sichuan Testing Center for Construction Engineering Quality

Address：№ 55, 3rd North Section, Yihuan Road, Chengdu, Sichuan, China

| № | Name of Products,Type of materials | Items, Parameter, Types of tests |  | Code of field | Name, Code of Specification, Standard or method used | Restriction or limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Name |  |  |  |  |
| 1.Construction material and product |  |  |  |  |  |  |  |
| 1 | Cement | 1 | Compressive strength | 1001.02 | 1.《Method of testing cements -Determination of strength》GB/T17671-1999 2.《Test methods for water requirement for normal consistency, setting time and soundness of Portland cement》GB/T1346-2001 3.《Test method for fineness of cement-The 80µm sieve》 GB 1345-2005 4.《Test method for fluidity of cement mortar》 GB/T 2419-2005 5.《Testing method for specific surface of cement-Blaine method》GB/T 8074-2008 6.《Standard test method for cement density》GB/T 208-1994 7.《method for chemical analysis of cement》GB/T 176-2008 8.《Common Portland cement》 GB175-2007 9.《White Portland Cement》GB2015-2005 10.《Sulphoaluminate cement》 GB 20472-2006 11.《Sulfate resistence Portland cement》GB748-2005 12.《Limestone Portland cement》JC600-2002 13.《Masonry cement》GB/T3183-2003 14.《Aalunite expansive cement》JC/T311-2004 15.《Aluminate cement》GB201-2000 16.《Steel slag cement for road》 JC/T 1087-2008 17《Portland cement for road》 GB13693-2005 18.《Fly ash used for cement and concrete》GB 1596-2005 |  | Standard alteration/Add 2 Standards |
|  |  | 2 | Break strength | 1001.02 |  |  |  |
|  |  | 3 | Setting time | 1001.02 |  |  |  |
|  |  | 4 | Soundness | 1001.02 |  |  |  |
|  |  | 5 | Water requirement of normal consistency | 1001.02 |  |  |  |
|  |  | 6 | Fineness | 1001.02 |  |  |  |
|  |  | 7 | Loss | 1001.02 |  |  |  |
|  |  | 8 | Not dissolved substance | 1001.02 |  |  |  |
|  |  | 9 | SiO2 | 1001.02 |  |  |  |
|  |  | 10 | Fe2O3 | 1001.02 |  |  |  |
|  |  | 11 | Al2O3 | 1001.02 |  |  |  |
|  |  | 12 | CaO | 1001.02 |  |  |  |
|  |  | 13 | MgO | 1001.02 |  |  |  |
|  |  | 14 | Ka2O, Na2O | 1001.02 |  |  |  |
|  |  | 15 | Sulphate-SO3 | 1001.02 |  |  |  |
| 2 | Fly ash | 1 | Water-retaining rate | 1016 | 1.《Fly ash used for cement and concrete》GB 1596-2005 2.《Test method for fluidity of cement mortar》GB/T 2419-2005 3.《method for chemical analysis of cement》GB/T 176-2008 |  | Standard alteration |
|  |  | 2 | 28d compressive strength ratio | 1016 |  |  |  |
|  |  | 3 | Required water ratio | 1016 |  |  |  |
|  |  | 4 | SO3 | 1016 |  |  |  |
|  |  | 5 | Loss | 1016 |  |  |  |
|  |  | 6 | Fineness | 1016 |  |  |  |
| 3 | Concrete admixture | 1 | Gas content | 1016 | 1.《Concrete admixtures》 GB 8076-1997 2.《Water-repellent admixture for mortar and concrete》JC 474-2008 3.《Pumping aid for concrete》 JC 473-2001 4.《Concrete freeze-repellent admixtures》JC 475-2004 5.《Expansive agents for concrete》JC 476-2001 6.Polycarboxylates high performance water-reducing admixture》JG/T223-2007 7.《Methods for testing uniformity of concrete admixture》GB/T 8077-2000 8.《Chemical analysis method for Chloride of cement》JC/T420-1991 |  | Standard alteration/Add 1 Standard |
|  |  | 2 | difference of Setting time | 1016 |  |  |  |
|  |  | 3 | Compressive strength ratio | 1016 |  |  |  |
|  |  | 4 | Apocrine water ratio | 1016 |  |  |  |
|  |  | 5 | Shrink ratio | 1016 |  |  |  |
|  |  | 6 | Steel rust | 1016 |  |  |  |
|  |  | 7 | Solid content | 1016 |  |  |  |
|  |  | 8 | Density | 1016 |  |  |  |
|  |  | 9 | Fluidity of cement slurry | 1016 |  |  |  |
|  |  | 10 | Fineness | 1016 |  |  |  |
|  |  | 11 | Setting time | 1016 |  |  |  |
|  |  | 12 | Total alkali | 1016 |  |  |  |
|  |  | 13 | Decrease water ratio | 1016 |  |  |  |
|  |  | 14 | Chlorine content | 1016 |  |  |  |
|  |  | 15 | Reserve value of Collapse degree | 1016 | 1.《Pumping aid for concrete》 JC 473-2001 |  |  |
|  |  | 16 | Increase value of collapse degree | 1016 |  |  |  |
|  |  | 17 | Penetration height ratio (concrete) | 1016 | 1.《Water-repellent admixture for mortar and concrete》JC 474-2008 |  |  |
|  |  | 18 | 48h Bibulous capacity ratio | 1016 |  |  |  |
|  |  | 19 | Penetration pressure ratio(mortar) | 1016 |  |  |  |
|  |  | 20 | Soundness | 1016 |  |  |  |
|  |  | 21 | PH value | 1016 | 1.《Methods for testing uniformity of concrete admixture》 GB/T 8077-20001 2.《Concrete admixtures》 GB 8076-1997 |  |  |
|  |  | 22 | Surface tension | 1016 |  |  |  |
|  |  | 23 | Sodium sulphate content | 1016 |  |  |  |
|  |  | 24 | Reductive Sugar | 1016 |  |  |  |
|  |  | 25 | Emitted ammonia | 1016 | 1.《Limit of ammonia emitted from the concrete admixtures》 GB 18588-2001 2.《Concrete freeze-repellent admixtures》JC 475-2004 |  |  |
|  |  | 26 | Restricted expansive ratio | 1016 | 1.《Expansive agents for concrete》JC 476-2001 |  |  |
|  |  | 27 | MgO | 1016 |  |  |  |
|  |  | 28 | Formaldehyde | 1016 | 1. Polycarboxylates high performance water-reducing admixture》JG/T223-2007 |  | Expanded |
| 4 | Sand | 1 | Particle match, fineness module | 1006.04 | 1.《Sand for building》 GB/T 14684-2001 2.《Quality Standard and Test Methods for Sand and Stone of Normal Concrete》JGJ 52-2006 3.《A rapid test method for determining the alkali reactivity of sands and rocks》CECS 48:1993 |  |  |
|  |  | 2 | Material finer than 75µm in natural sand | 1006.15 |  |  |  |
|  |  | 3 | Material finer than 75 µm in manufactured sand | 1006.13 |  |  |  |
|  |  | 4 | Organic substance | 1006.33 |  |  |  |
|  |  | 5 | Soundness | 1006.33 |  |  |  |
|  |  | 6 | Surface density | 1006.30 |  |  |  |
|  |  | 7 | Pile density, Percentage of voids | 1006.27 |  |  |  |
|  |  | 8 | Mica | 1006.02 |  |  |  |
|  |  | 9 | Sulfide | 1006.14 |  |  |  |
|  |  | 10 | Chloride | 1006.33 |  |  |  |
|  |  | 11 | Alkali reactivity | 1006.33 |  |  |  |
|  |  | 12 | Material lighter than 2000 kg/m3 | 1006.20 |  |  |  |
|  |  | 13 | Clay content | 1006.13 |  |  |  |
| 5 | Stone | 1 | Particle match | 1006.04 | 1.《Pebble and crushed stone for building》GB/T 14685-2001 2.《Quality Standard and Test Methods for Sand and Stone of Normal Concrete》JGJ 52-2006 3.《A rapid test method for determining the alkali reactivity of sands and rocks》CECS 48:1993 |  |  |
|  |  | 2 | Material finer than 75µm in pebble and crushed stone | 1006.15 |  |  |  |
|  |  | 3 | Elongated flaky particle | 1006.13 |  |  |  |
|  |  | 4 | Organic substance | 1006.05 |  |  |  |
|  |  | 5 | Soundness | 1006.16 |  |  |  |
|  |  | 6 | Crushing factor | 1006.30 |  |  |  |
|  |  | 7 | Surface density | 1006.33 |  |  |  |
|  |  | 8 | Bulk density and Percentage of voids | 1006.27 |  |  |  |
|  |  | 9 | Sulfide | 1006.02 |  |  |  |
|  |  | 10 | Rock ompressive strength | 1006.33 |  |  |  |
|  |  | 11 | Alkali reactivity | 1005.05 |  |  |  |
|  |  | 12 | Clay content | 1006.20 |  |  |  |
| 6 | Metallic material (material, welding) | 1 | Yield strength | 1016 | 1.《Metallic materials-tensile testing at ambient temperature》 GB/T 228-2002 2.《Metallic materials-bend test》GB/T 232-1999 3.《Metallic materials wire-Reverse bend test》GB/T 238-2002 4.《Metallic materials-Compression testing in normal atmospheric temperature》GB/T 7314-2005 5.《Metallic materials charpy notch impact test》GB229-2007 6.《Quality carbon structural steels》GB/T 699-1999 7.《Carbon Structural Steels》 GB/T 700-2006 8.《Hot rolled ribbed steel bars for there in for cement of concrete》 GB 1499.1-2008 9.《Cold rolled ribbed steel wires and bars》GB 1499.2-2007 10.《Specification for welding and acceptance of reinforcing steel bars》GB13788-2008 11.《Seamless steel tubes for structural purposes》JG 190-2006 12.《Round wire concenteic lay overhead electrical stranded conductors》JGJ18-2003 |  | Standard alteration |
|  |  | 2 | Tensile strength | 1016 |  |  |  |
|  |  | 3 | Elongation | 1016 |  |  |  |
|  |  | 4 | Cold bending | 1016 |  |  |  |
|  |  | 5 | Repeated bending | 1016 |  |  |  |
|  |  | 6 | Impactive work absorbability | 1016 |  |  |  |
|  |  | 7 | Shear strength | 1016 |  |  |  |
| 7 | Alloy | 1 | Yield strength | 1016 | 1.《Metallic materials-tensile testing at ambient temperature》 GB/T 228-2002 2.《Metallic materials-bend test》GB/T 232-1999 3.《Metallic materials-Compression testing in normal atmospheric temperature》GB/T 7314-2005 4.《Metallic materials charpy notch impact test》GB229-2007 5.《Quality carbon structural steels》GB/T699-1999 6.《Carbon structural steels》 GB/T 700-2006 7.《High strength low alloy structural steels》GB/T1591-1994 8.《Seamless steel tubes for structural purposes》GB/T8162-2008 9.《Longitudinal electric resistance welded steel tubes》GB/T13793-2008 10.《Round wire concenteic lay overhead electrical stranded conductors》GB/T 1179-1999 11.《Specification for welding and acceptance of Reinforcing steel bars》JGJ18-2003 12.《Wrought aluminium alloy extruded profiles for architecture》GB/T5237.1～6-2004 |  | Standard alteration |
|  |  | 2 | Tensile strength | 1016 |  |  |  |
|  |  | 3 | Elongation | 1016 |  |  |  |
|  |  | 4 | Cold bending | 1016 |  |  |  |
|  |  | 5 | Impactive work absorption | 1016 |  |  |  |
| 8 | Concrete | 1 | Mix proportion | 1002.22 | 1.《Specification for mix proportion design of or dinary concrete》 JGJ55-2000 2.《Standard for test method of performance on ordinary fresh concrete》GB/T50080-2002 3.《Standard for test method of mechanical properties on ordinary concrete》GB/T50081-2002 4.《Standard for test method of perennial and endurance properties on ordinary concrete》GBJ82-1985 5.《Standard of quality control of concrete》 GB 50164-1992 6.《Technical code for tall building box foundations and raft foundations》JGJ 6-1999 7.《Technical specification for concrete structures of tall building》 JGJ 3-2002 8.《Technical specification for application of high performance concrete》CECS 207: 2006 |  | Add 1 Standard |
|  |  | 2 | Thick degree | 1002.03 |  |  |  |
|  |  | 3 | Apparent density | 1002.05 |  |  |  |
|  |  | 4 | Contain gas degree | 1002.04 |  |  |  |
|  |  | 5 | Setting time | 1002.19 |  |  |  |
|  |  | 6 | Apocrine water in Normal pressure | 1002.06 |  |  |  |
|  |  | 7 | Apocrine water in high pressure | 1002.06 |  |  |  |
|  |  | 8 | Frost-resistant capability | 1002.22 |  |  |  |
|  |  | 9 | Impermeable capability | 1002.22 |  |  |  |
|  |  | 10 | Shrinkage | 1002.14 |  |  |  |
|  |  | 11 | Cubic compressive Strength | 1002.09 |  |  |  |
|  |  | 12 | Axes compressive Strength | 1002.09 |  |  |  |
|  |  | 13 | Statics compressive elasticity module | 1002.18 |  |  |  |
|  |  | 14 | Split tensile strength | 1002.11 |  |  |  |
|  |  | 15 | Break strength | 1002.12 |  |  |  |
|  |  | 16 | Temperature | 1002.22 |  |  |  |
|  |  | 17 | Carbonization | 1002.22 |  |  | Expanded |
|  |  | 18 | Resistance to penetration of chloride ions | 1002.22 |  |  |  |
| 9 | Mortar | 1 | Mix proportion | 1001.05 | 1.《Specification for mix proportion design of masonry mortar》 JGJ98-2000 2.《Test methods of building mortar of basic capability》JGJ70-1990 |  |  |
|  |  | 2 | Thickness degree | 1001.05 |  |  |  |
|  |  | 3 | Density | 1001.05 |  |  |  |
|  |  | 4 | Layered degree | 1001.05 |  |  |  |
|  |  | 5 | Setting time | 1001.05 |  |  |  |
|  |  | 6 | Cubic compressive Strength | 1001.05 |  |  |  |
|  |  | 7 | Frost-resistant capability | 1001.05 |  |  |  |
|  |  | 8 | Shrinkness | 1001.05 |  |  |  |
| 10 | Fired bricks | 1 | Strength grade | 1012.02 | 1.《Test methods for wall bricks》 GB/T 2542-2003 2.《Fired commen brick》 GB 5101-2003 3.《Fired hollow bricks and blocks》GB13545-2003 4.《Fried perforated bricks》GB13544-2000 5.《Fly ash brick》JC 239-2001 6.《Autoclaved lime-sand brick》GB11945-1999 7.《Non-fired rubbish gangue brick》JC/T422-2007 |  | Expanded/Add 3 Standards |
|  |  | 2 | Bulk density | 1012.02 |  |  |  |
|  |  | 3 | Presentation quality size deviation | 1012.02 |  |  |  |
|  |  | 4 | Sop | 1012.02 |  |  |  |
|  |  | 5 | Frost-resistance of property | 1012.02 |  |  |  |
|  |  | 6 | Summing | 1012.02 |  |  |  |
|  |  | 7 | Lime crack | 1012.02 |  |  |  |
|  |  | 8 | Porosity | 1012.02 |  |  |  |
| 11 | Tile | 1 | Appearance | 1003.01 | 1.《Concrete tiles》JC 746-2007 2.《Test methods for firber cement products》GB/T 7019-1997 3.《Glass fibre reinforced magnesium cement corrugated sheet and ridge tile》JC/T 747-2002 4.《Asbestos-cement corrugated sheet and ridge tile》GB/T 9772-1996 |  | Standard alteration |
|  |  | 2 | Dimension | 1003.01 |  |  |  |
|  |  | 3 | Water absorption | 1003.01 |  |  |  |
|  |  | 4 | Proof- permeability | 1003.01 |  |  |  |
|  |  | 5 | Frost-resistant capability | 1003.01 |  |  |  |
|  |  | 6 | Folding force /Bending property | 1003.01 |  |  |  |
| 12 | Blocks | 1 | Appearance | 1003.08 | 1.《Test method for the small concrete hollow block》GB/T 4111-1997 2.《Test method of aerated concrete》 GB/T 11969-2008 3.《Thermal insulation-Determination of steady Thermal resistance and Related properties-Guarded hot plate Apparatus and flow meter apparatus》GB/T10294-2008 4.《Heat Conduction Test method for Aired Concrete》JC 275-1980（1996） |  | Standard alteration |
|  |  | 2 | Dimension | 1003.08 |  |  |  |
|  |  | 3 | Density | 1003.08 |  |  |  |
|  |  | 4 | Moisture content | 1003.08 |  |  |  |
|  |  | 5 | Water absorption | 1003.08 |  |  |  |
|  |  | 6 | Compressive strength | 1003.08 |  |  |  |
|  |  | 7 | Grade of strength | 1003.08 |  |  |  |
|  |  | 8 | Folding strength | 1003.08 |  |  |  |
|  |  | 9 | Softening Coefficient | 1003.08 |  |  |  |
|  |  | 10 | Frost resistance | 1003.08 |  |  |  |
|  |  | 11 | Coefficient of thermal conductivity | 1003.08 |  |  |  |
| 13 | Precast concrete paving units | 1 | Strength grade (compressive strength, break strength) | 1009.06 | 1.《Precast concrete paving units》 JC/T 446-2000 |  |  |
|  |  | 2 | Water absorption | 1009.04 |  |  |  |
| 14 | Dry-pressed ceramic tiles | 1 | Adhesive strength | 1016 | 1.《Testing standard of adhesive strength of tapestry brick for construction engineering》 JGJ 110-2008 2.《Test methods of ceramic tiles-part 2: Determination of dimensions and surface quality》GB/T 3810.2-2006 3.《Test methods of ceramic tiles-part 3: Determination of water absorption》GB/T 3810.3-2006 4.《Test methods of ceramic tiles-part 4: Determination of modulus of rupture and breaking strength》 GB/T 3810.4-2006 5.《Test methods of ceramic tiles-part 9: Determination of resistance to thermal shock》GB/T 3810.9-2006 6.《Test methods of ceramic tiles-part 12: Determination of frost resistance》GB/T 3810.12-2006 7.《Specification for Construction and Acceptance of Tapestry Brick Work for Exterior Wall》JGJ126-2000/J23-2000 |  | Standard alteration |
|  |  | 2 | Dimensions and surface quality | 1016 |  |  |  |
|  |  | 3 | Water absorption | 1016 |  |  |  |
|  |  | 4 | Modulus of rupture and breaking strength | 1016 |  |  |  |
|  |  | 5 | Resistance to thermal Shock | 1016 |  |  |  |
| 15 | Natural stone | 1 | Water absorption | 1005.01 | 1.《Test methods of stone material for highway engineering》JTG E41-2005 |  | Standard alteration |
|  |  | 2 | Compressive strength | 1005.05 |  |  |  |
| 16 | Natural granite (marble) building slab | 1 | Water absorption, Bulk density | 1005.01 1005.02 | 1.《Test methods for natural facing stones-Part 3: Test methods for bulk density, true density, true porosity and water absorption》GB/T 9966.3-2001 2.《Test methods for natural facing stones-Part 2: Dry and wet test method for flexural strength》 GB/T 9966.2-2001 3.《Test methods of specular gloss for decorative building materials》 GB/T 13891-2008 4.《Test methods for natural facing stones-Part 1: Dry and wet test method for compressive strength》GB/T 9966.1-2001 5.《Specification for natural granite for building slab》 GB/T 18601-2001 6.《Specification for natural marble for building slab》 GB/T 19766-2005 |  | Standard alteration |
|  |  | 2 | Flexural strength (dry or wet) | 1005.05 |  |  |  |
|  |  | 3 | Specular gloss | 1005.04 |  |  |  |
|  |  | 4 | Compressive strength (dry or wet) | 1005.05 |  |  |  |
| 17 | Partition wall panel | 1 | Appearance | 1003.08 | 1.《Light longish panels for internal partitions in residence》 JG/T 169-2005 2.《Glassfibre reinforced cement lightweight hollow panel for partition》GB/T 19631-2005 3.《Concrete hollw panels contained Industrial fly ash and waste slag for partition wall in building》 JG 3063-1999 4.《Metal shinned EPS Sandwich Panels》JC 689-1998 5.《Limit of radio-nuclides in building materials》GB 6566-2001 |  | Standard alteration |
|  |  | 2 | Dimension | 1003.08 |  |  |  |
|  |  | 3 | Density | 1003.08 |  |  |  |
|  |  | 4 | Moisture content | 1003.08 |  |  |  |
|  |  | 5 | Water absorption | 1003.08 |  |  |  |
|  |  | 6 | Hanging force | 1003.08 |  |  |  |
|  |  | 7 | Bending load | 1003.08 |  |  |  |
|  |  | 8 | Shocking property | 1003.08 |  |  |  |
|  |  | 9 | Folding load | 1003.08 |  |  |  |
|  |  | 10 | Radio-nuclides | 1003.08 |  |  |  |
| 18 | Gypsum Board/plas ter board | 1 | Appearance and dimension | 1010.02 | 1.《Decorating gypsum board》 JC/T 799-2007 2.《Gypsum plasterboard》 GB/T 9775-2008 |  | Standard alteration |
|  |  | 2 | Weight | 1010.02 |  |  |  |
|  |  | 3 | Water content | 1010.02 |  |  |  |
|  |  | 4 | Water absorption | 1010.02 |  |  |  |
|  |  | 5 | Broken load | 1010.02 |  |  |  |
| 2.Building structures, Bridge and tunnel |  |  |  |  |  |  |  |
| 19 | Steel space truss | 1 | Stress | 1023 | 1.《Code for acceptance of construction quality of steel structures》GB50205-2001 2.《Welded steel pipe for low pressure liquid delivery》GB/T3091-2008 |  | Standard alteration |
|  |  | 2 | Deflection | 1023 |  |  |  |
|  |  | 3 | Material type and hardware windage | 1023 |  |  |  |
|  |  | 4 | Offset of steel space truss and baseplate | 1023 |  |  |  |
|  |  | 5 | Paint thickness | 1023 |  |  |  |
| 20 | Steel tower | 1 | Verticality of central axis | 1023 | 1.《Technical specification of microwave relay communication equipment installation and acceptance》YD 2012-1994 2.《Hot rolled section steel》 GB/T 706-2008 3.《Code for acceptance of construction quality of steel structures》GB50205-2001 |  | Standard alteration |
|  |  | 2 | Variance of dimension and shape | 1023 |  |  |  |
|  |  | 3 | Bolt fasteness | 1023 |  |  |  |
|  |  | 4 | Zincification thickness | 1023 |  |  |  |
|  |  | 5 | Grounding resistance | 1023 |  |  |  |
|  |  | 6 | Profile specification | 1023 |  |  |  |
| 21 | Weld quality | 1 | Inner flaw | 1101 | 1.《Method for ultrasonic testing and classification for steel structures》JG/T 203-2007 2.《Method for manual untrasonic testing and classification of testing results for ferritic steel welds》GB/T11345-1989 3.《Code for acceptance of construction quality of steel structures》GB50205-2001 4.《Non-destructive testing-Magnetic particle testing of weld》JB/T6061-2007 |  | Add 1 Standard |
|  |  | 2 | Appearance quality | 1101 |  |  |  |
| 22 | Bolt connect part | 1 | Torque factor of high strength stud bolt | 1023 | 1.《Code for design，construction and acceptance of high strenh forsteel structure》JGJ82-1991 2.《Mechanical properties of fasteners》GB/T 3098.1～2-2000 GB/T3098.1-2000 3.《Code for acceptance of construction quality of steel structures》GB50205-2001 |  |  |
|  |  | 2 | Slippage resistance | 1023 |  |  |  |
|  |  | 3 | Pull force |  |  |  |  |
|  |  | 4 | Hardness | 1023 |  |  | Expanded |
| 23 | Concrete Structure | 1 | Inner defect | 1101 | 1.《Technical specification for inspection of concrete defects by ultrasonic method》CECS21: 2000 2..《Technical specification for testing concrete strength with drilled core》CECS03: 2007 3.《Technical specification for inspection of concrete compressive strength by rebound method》 JGJ/T23-2001 4.《Code for acceptance of constructional quality of concrete structures》GB 50204-2002 5.《Technical specification for detecting strength of concrete by ultrasonic-rebound combined method》CECS 02: 2005 |  | Standard alteration |
|  |  | 2 | Compressive strength | 1101 |  |  |  |
|  |  | 3 | Carbonicdepth | 1101 |  |  |  |
| 24 | Masonry struture | 1 | Compressive strength | 1012.01 | 1.《Test methods of masonry of basic Mechanical capability》 GBJ 129-1990 2.《Technical standard for site testing of engineering》GB/T 50315-2000 |  |  |
|  |  | 2 | Elasticity module | 1101 |  |  |  |
|  |  | 3 | Shear strength | 1101 |  |  |  |
| 25 | Reinforced concrete building component | 1 | Dimension | 1017 | 1.《Code for acceptance of constructional quality of concrete structure》GB50204-2002 2.《Code for design steel structures》GB50017-2003 3.《Code for design wood structures》GB50005-2003 4.《Code for design masonry structures》GB50003-2001 5.《Design code for strengthening concrete structure》GB 50367-2006 |  | Add 1 Standard |
|  |  | 2 | Load-carrying capacity | 1017 |  |  |  |
|  |  | 3 | Deflection | 1017 |  |  |  |
|  |  | 4 | Anti-Crack or crack windeness | 1017 |  |  |  |
| 26 | Engineering structures and special structures engineering | 1 | Dimension of structural members | 1009.02 | 1.《Standard for appraisal of reliability of civil buildings》 GB 50292-1999 2.《Standard for appraisal of reliability of industrial building》 GBJ 144-1990 3.《Standard for seismic appraiser of building》GB50023-1995 4.《Standard for seismic appraiser of industrial structures》GBJ 117-1988 5.《Load code for the design of building structures》 GB 50009-2001(2006） 6.《Code for design of masonry structures》GB 50003-2001 7.《Code for design of concrete structures》GB50010-2002 8.《Code for design of timber structures》GB 50005-2003 9.《Code for seismic design of buildings》GB 50011-2001(2008) 10.《Design code for antisesmic of special structures》GB 50191-1993 11.《Code for design of steel structures》GB 50017-2003 12.《Code for design of building foundation》GB 50007-2002 13.《Unified standard for constructional quality acceptance of building engineering》 GB 50300-2001 14.《Code for acceptance of constructional quality of concrete structures》GB 50204-2002 15.《Code for construction quality acceptance of timber structures》GB50206-2002 16.《Code for acceptance of construction quality of masonry engineering》GB 50203-2002 17.《Code for acceptance of construction quality of steel structures》GB 50205-2001 18.《Specification of Testing Methods for Earthquake Resistant Building》JGJ101-1996 | 3.2.3、3.2.5、4.1.1、7.1. | Standard alteration |
|  |  | 2 | Deformation | 1017 |  |  |  |
|  |  | 3 | Crack | 1017 |  |  |  |
|  |  | 4 | Thickness of concrete cover | 1017 |  |  |  |
|  |  | 5 | Load-carrying capacity | 1017 |  |  |  |
|  |  | 6 | Inspection of weld defects | 0303.10 |  |  |  |
|  |  | 7 | Thickness of drift | 0355.01 |  |  |  |
|  |  | 8 | Structural frequency | 1408.03 |  |  |  |
|  |  | 9 | Structural dampness ratio | 1408.02 |  |  |  |
|  |  | 10 | Structural vibration model | 1408.03 |  |  |  |
|  |  | 11 | Dynamic reaction | 1410 |  |  |  |
| 27 | Strengthening Material | 1 | Resin tensile strength of resin | 1016 | 1.《Technical code for strengthening concrete Structure with fiber reinforced polymer》 DG/TJ 08-012-2002 2.《Technical specification for strengthening concrete structures with carbon fiber reinforced polymer laminate》CECS 146: 2003(2007) 3.《Technical specification for post-installed fastenings in concrete structures》JGJ145-2004 4.《Test methods for properties of resin casting boby》GB/T 2567-2008 5.《Plastics-Standard atmospheres for conditioning and testing》 GB/T 2918-1998 6.《Adhesives-Determination of tensile strength of butt joints》 GB/T 6329-1996 7.《Adhesive-Determination of tensile lap-shear strength of rigid-to-rigid bonded assemblies》GB/T 7124-2008 8.《Adhesives-Test method for uneven tear strength of adhesives bonds (metal to metal)》GJB 94-1986 9.《Test method of cleavage strength of adhesives（metal to metal》 GB/T 7749-1987 10.《Adhesives, T peel strength test method for a flexible-to-flexible test specimen assembly》GB/T2791-1995 11.《Test method for nonvolatile content of adhesives》GB/T 2793-1995 12.《Determination methods for viscosity of adhesives》GB/T 2794-1995 13.《Silicone sealant for building》 GB/T 14683-2003 14.《Test method for building sealants》GB/T 13477.1~.20-2002 15.《Determination for working life of adhesives》GB/T 7123.1-2002 16.《Determination for storage life of adhesives》GB/T 7123.2-2002 17.《Determination of the pH of adhesives》GB/T 14518-1993 18.《Fiber-reinforced plastics composites-The generals for determination of properties》 GB/T 1446-2005 19.《Test method for reinforcement products Part 3: Determination of mass per unit area》GB/T9914.3-2001 20.《Test method for reinforcement products Part 1: Determination of moisture content》GB/T9914.1-2001 21.《Test method for tensile properties of oriented fiber reinforced plastics》GB/T 3354- 1999 22.《Test method for flexural properties of unidirectional fiber reinforced plastics》GB/T 3356-1999 23.《Test method for mode II interlaminar fracture toughness GⅡC of laminates of fiber strengthening synthetic materials》HB 7403-1996 24.《Design code for strengthening Concrete Structure》GB50367-2006 |  | Standard alteration/Add 1 Standard |
|  |  | 2 | Resin tensile elastic modulus | 1016 |  |  |  |
|  |  | 3 | Limit elongation rate | 1016 |  |  |  |
|  |  | 4 | Resin compressive strength | 1016 |  |  |  |
|  |  | 5 | Resin compressive modulus | 1016 |  |  |  |
|  |  | 6 | Resin flexural strength | 1016 |  |  |  |
|  |  | 7 | Resin flexural modulus | 1016 |  |  |  |
|  |  | 8 | Adhesive Tensile strength | 1016 |  |  |  |
|  |  | 9 | Tensile shear strength | 1016 |  |  |  |
|  |  | 10 | Uneven tear strength | 1016 |  |  | Expanded |
|  |  | 11 | Cleavage strength | 1016 |  |  |  |
|  |  | 12 | T peel strength | 1016 |  |  |  |
|  |  | 13 | Mental/Fibre composite/Concrete(Stone) adhesive strength | 1016 |  |  |  |
|  |  | 14 | Adhesive tensile shear strength (steel to steel) | 1016 |  |  |  |
|  |  | 15 | Tensile strength,of FRP | 1016 |  |  |  |
|  |  | 16 | Modulus of FRP | 1016 |  |  |  |
|  |  | 17 | Limit elongation of FRP | 1016 |  |  |  |
| 28 | Strengthening quality | 1 | Surface moisture content | 1101 | 1.《Unified standard for constructional quality acceptance of building engineering》GB50300-2001 2.《Technical code for concrete structure strengthened with fiber reinforced polymer》 DG/TJ 08-012-2002 3.《Technical specification for post-installed fastenings in concrete structures》JGJ 145-2004 4.《Technical specification for inspection of concrete defects by ultrasonic method》CECS 21: 2000 5.《Technical Specification forInspection of Concrete Compressive Strength by Rebound Method》JGJ/T 23-2001 6.《Technical specification for detecting strength of concrete by ultrasonic-rebound combined method》CECS02: 2005 7.《Technical specification for strengthening concrete structures with carbon fiber reinforced polymer laminate》CECS 146: 2003(2007) 8.《Rubber, vulcanized or thermoplastic-Determination of indentation hardness-Part 1: Duromerer method (Shore hardness)》GB/T531.1-2008 9.《Tension and shear test methods for building anchors》DG/TJ08-003-2000 10.《Design code for strengthening concrete structure》Gb50367-2006 11.《Code for acceptance of constructional guality of strengthening building structures》GB50×××-2009 |  | Standard alteration/Add 1 Standard |
|  |  | 2 | Vierendal area and vierendal rate | 1101 |  |  |  |
|  |  | 3 | Compressive strength | 1101 |  |  |  |
|  |  | 4 | Tensile strength of adhesive | 1101 |  |  |  |
|  |  | 5 | Adhesive layer hardness | 1101 |  |  |  |
|  |  | 6 | Resistance to pull out | 1101 |  |  |  |
| 29 | Bulk concrete | 1 | Temperature | 1002.22 | 1.《Technical specification for concrete structures of tall building》JGJ3-2002 2.《Technical code for construction of bulk concrete of volume foudation》YBJ224-1991 3.《Code for acceptance of constructional quality of concrete structures》GB 50204-2002 4.《Technical Code for Tall Building Box Foundations and Raft Foundations》JGJ 6-1999 |  |  |
| 30 | Bridge and tunnel | 1 | Static stress | 1018 | 1.《Measurement method of load allowance for existing highway bridge》(tried, 1988) 2.Ministry of Transportation & Communications《Testing method of large span concrete bridge》(1982) 3.《General code for design of highway bridges and culverts》 JTG D60-2004 4.《Highway reinforced concrete and prepare in response to the dint concrete bridge the design the norm》JTG D62-2004 5.《In general use norm of test method for the concrete structures》 GB50152-1992 |  |  |
|  |  | 2 | Dynamic stress | 1018 |  |  |  |
|  |  | 3 | Deflection (displacement) | 1018 |  |  |  |
|  |  | 4 | Behavior factor | 1018 |  |  |  |
| 3.Base and foundation |  |  |  |  |  |  |  |
| 31 | Natural base Composite base | 1 | Bearing capacity | 1017 | 1.《Code for design of building foundation》GB50007-2002 2.《Technique code for ground treatment of buildings》 JGJ79-2002 |  |  |
| 32 | Foundation pile | 1 | Vertical capability | 1017 | 1.《Technical code for testing of building foundation piles》 JGJ 106-2003 |  |  |
|  |  | 2 | Pile integrity | 1017 | 1.《Technical code for testing of building foundation piles》 JGJ 106-2003 |  |  |
| 4.Water-proof sheet and coating |  |  |  |  |  |  |  |
| 33 | Water-proof sheet | 1 | Soluble mattrer content | 1007.09 | 1.《Styrene butadiene styrene(SBS) Modified bituminous sheetmaterials》 GB 18242-2000 2.《Atactic Polypropylene(APP) Modified bituminous sheet materials》GB 18243-2000 3.《Bitumen flexible waterproofing membrane with double reinforcement》JC/T690-2008 |  | Standard alteration |
|  |  | 2 | Water impermeability | 1007.09 |  | Accredited only for B method. |  |
|  |  | 3 | Heat-resisting | 1007.09 |  |  |  |
|  |  | 4 | Tensile properties | 1007.09 |  |  |  |
|  |  | 5 | Low temperature flexibility | 1007.09 |  |  |  |
|  |  | 6 | Elongation at most pull | 1007.09 | 1.《Styrene butadiene styrene(SBS) Modified bituminous sheetmaterials》 GB 18242-2000 2.《Atactic Polypropylene(APP) Modified bituminous sheet materials》 GB 18243-2000 |  |  |
|  |  | 7 | Tear strength | 1007.09 |  |  |  |
|  |  | 8 | Appearance/Size | 1007.09 |  |  |  |
| 34 | Polymer water-proof material (sheet) | 1 | Tensile strength at break | 1016 | 1.《Polymer Water-proof Materials-Part 1: Water-proof Sheet》 GB 18173.1-2006 2.《Polyvinyl chloride plastic sheets for waterproofing》GB 12952-2003 3.《Chlorinated polyethylene plastic sheets for waterproofing》 GB 12953-2003 |  |  |
|  |  | 2 | Elongation at break | 1016 |  |  |  |
|  |  | 3 | Winding in low temperature | 1016 |  |  |  |
|  |  | 4 | Change in dimensions on heating | 1016 |  |  |  |
|  |  | 5 | Water impermeability | 1016 | 1.《Polyvinyl chloride plastic sheets for waterproofing》GB 12952-2003 2.《Chlorinated polyethylene plastic sheets for waterproofing》 GB 12953-2003 | Accredited only for B method. |  |
|  |  | 6 | Tear strength | 1016 | 1.《Polymer Water-proof Materials-Part 1: Water-proof Sheet》 GB 18173.1-2006 |  |  |
| 35 | Water-proof coating | 1 | Solid content | 1016 | 1.《Polymer modified cementitious waterproofing coating》JC/T894-2001 2.《Polymer emulision architectural waterproofing coating》 JC/T864-2008 3.《Polyurethane waterproofing coating》GB/T 19250-2003 |  | Standard alteration |
|  |  | 2 | Tensile strength | 1016 |  |  |  |
|  |  | 3 | Elongation at break | 1016 |  |  |  |
|  |  | 4 | Low temperature flexibility | 1016 |  |  |  |
|  |  | 5 | Moist base surface of bonding strength | 1016 |  |  |  |
|  |  | 6 | Coat surface dry time | 1016 |  |  |  |
|  |  | 7 | Coat dry time | 1016 |  |  |  |
|  |  | 8 | Water impermeability | 1016 | 1.《Polymer modified cementitious waterproofing coating》JC/T894-2001 2.《Polyurethane waterproofing coating》GB/T 19250-2003 | Accredited only for B method. |  |
|  |  | 9 | Permeability resistance | 1016 | 1.《Polymer modified cementitious waterproofing coating》JC/T894-2001 |  |  |
| 36 | Architectural coating | 1 | State in container | 1016 | 1.《Synthetic resin emulsion coatings for exterior wall》GB 9755-2001 2.《Synthetic resin emulsion coatings for interior wall》GB 9756-2001 |  |  |
|  |  | 2 | Workability | 1016 |  |  |  |
|  |  | 3 | Stability at low temperature | 1016 |  |  |  |
|  |  | 4 | Drying time | 1016 |  |  |  |
|  |  | 5 | Paint film appearance | 1016 |  |  |  |
|  |  | 6 | Contrast ratio | 1016 |  |  |  |
|  |  | 7 | Alkali resistance | 1016 |  |  |  |
|  |  | 8 | Scrub resistance | 1016 |  |  |  |
|  |  | 9 | Resistance under change of temperature | 1016 | 1.《Synthetic resin emulsion coatings for exterior wall》GB 9755-2001 |  |  |
|  |  | 10 | Stain resistance | 1016 |  |  |  |
|  |  | 11 | Water resistance | 1016 |  |  |  |
| 5.Building external doors and windows, Curtain wall and material |  |  |  |  |  |  |  |
| 37 | Building external doors and windows | 1 | wind resistance performance | 1017 | 1.《Graduation and test methods of air permeability, watertightnees and wind resistance performance for building external doors and windows》 GB/T 7106-2008 |  | Standard alteration |
|  |  | 2 | Air permeability performance | 1017 |  |  |  |
|  |  | 3 | Watertight ness performance | 1017 |  |  |  |
| 38 | Curtain wall and material | 1 | Framework stuff | 1024 | 1.《Standard for testing of engineering quality of glass curtain walls》JGJ/T139-2001 2.《Technical Code for Glass Curtain wall Engineering》JGJ102-1996 3.《Technical Code for Metal and Stone Curtain Walls Engineering》 JGJ 133-2001 4.《Test method of air permeability, waterightness,wind load resistance performance for curtain walls》 GB/T 15227-2007 5《Test method for performance in plane deformation of curtain wall’s》 6.《Aluminium-plastic composite panel for curtain wall》 GB/T 17748-2008 7.《Structural silicon sealants for building》GB/T 16776-2005 8.《Epoxy adhesives for dry-fixing stone curtain wall》JC 887-2001 9.《Silicone sealant for building》 GB/T 14683-2003 |  |  |
|  |  | 2 | Compatibility test | 1024 |  |  |  |
|  |  | 3 | Stretching cementation | 1024 |  |  | Expanded/Add 6 Standards |
|  |  | 4 | Certain elongation cementation | 1024 |  |  |  |
|  |  | 5 | Uniaxial tension test | 1024 |  |  |  |
|  |  | 6 | Unconfined compression strength | 1024 |  |  |  |
|  |  | 7 | Bending strength of stone | 1024 |  |  |  |
|  |  | 8 | Peeling strength of composited aluminum and plastic decking | 1024 |  |  |  |
|  |  | 9 | Setting up error | 1024 |  |  |  |
|  |  | 10 | Fire-proof lightning-proof | 1024 |  |  |  |
|  |  | 11 | Air permeability, Water penetration Wind-resistance | 1024 |  |  |  |
| 6.Indoor environ-mental pollution |  |  |  |  |  |  |  |
| 39 | Indoor environ-mental pollution of civil building engineering | 1 | Radon in air | 1016 | 1.《Code for Indoor Environmental Pollution Control of Civil Building Engineering》GB 50325-2001(2006) 2.《Standard methods for random measurement in environmental air》 GB/T 14582-1993 3.《Methods for determination of formaldehyde in air of public place》GB/T 18204.26-2000 4.《Methods for determination of ammonia in air of public places》 GB/T 18204.25-2001 5.《Standard method for hygienic examination of benzene, toluene and xylene in air of residential areas-Gas chromatograph》GB/T 11737-1989 6.《Limit of radio-nuclides in building materials》GB 6566-2001 7.《Limit of ammonia emitted from the concrete admixtures》 GB 18588-2001 | Accredited only for activated carbon box method. |  |
|  |  | 2 | Released formaldehyde in air | 1016 |  |  |  |
|  |  | 3 | Ammonia in air | 1016 |  |  |  |
|  |  | 4 | Benzene in air | 1016 |  |  |  |
|  |  | 5 | TVOC in air | 1016 |  |  |  |
|  |  | 6 | Radon in Soil | 1016 |  |  |  |
|  |  | 7 | Radio-nuclides of Inorganic and Nonmetallic material | 1016 |  |  |  |
|  |  | 8 | Ammonia in Concrete admixtures | 1016 |  |  |  |
| 40 | Manufactured wood panel and decorating panel | 1 | Released formaldehyde | 1016 | 1.《Test method of evaluating the properties of wood-based panels and surface decorated wood -based panels》GB/T 17657-1999 2.《Indoor decorating and refurbishing mater-Limit of formaldehyde emission of wood-based panels and finishing products》GB 18580-2001 | Except for climate testing method |  |
| 7.Building economy energy |  |  |  |  |  |  |  |
| 41 | Window and door | 1 | Thermal transmittance | 1016 | 1.《Granduation and test method for thermal insulating properties of windows and door》GB/T 8484-2008 |  | Standard alteration |
| 42 | Building element | 1 | Thermal transmittance | 1016 | 1.《Thermal insulation-Determination of steady-state thermal transmission properties-Calibrated and guarded hot box》GB/T 13475-2008 |  | Standard alteration |
| 43 | External thermal insulation on walls | 1 | Climate durability | 1016 | 1.《Technical specification for external thermal insulation on walls》JGJ 144-2004 2.《External thermal insulation composite systems based on expanded polystyrene》JG 149-2003 3.《External thermal insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》JG 158-2004 |  |  |
|  |  | 2 | Wind load resistance performance | 1016 |  |  | Expanded |
|  |  | 3 | Water absorbing capacity | 1016 |  |  |  |
|  |  | 4 | Shocking strength | 1016 |  |  |  |
|  |  | 5 | Freezing-thaw cycling resistance | 1016 |  |  |  |
|  |  | 6 | Water vapour transmission | 1016 |  |  |  |
|  |  | 7 | Impermeability | 1016 |  |  |  |
|  |  | 8 | Abrasion resistance | 1016 |  |  |  |
|  |  | 9 | Tensile strength of system | 1016 |  |  |  |
| 44 | Insulation material and product | 1 | Grading | 1016 | 1.《Expanded perlite》 JC/T 209-1992(1996) 2.《Expanded perlite thermal inslation》GB/T 10303-2001 3.《Expanded vermicul》 JC/T 442-1991(1996) 4.《Test methods of inorganic rigid thermal insulation》GB/T 5486-2008 5.《Thermal insulation-Determination of steady-state thermal resistance and related properties-Guarded hot plate apparatus》GB/T 10294-2008 6.《Thermal insulation-determination of steady-state thermal resistance and related properties - heat flow meter apparatus》GB/T 10295-2008 7.《Silicate compound plaster for thermal insulation》GB/T 17371-2008 |  |  |
|  |  | 2 | Density | 1016 |  |  |  |
|  |  | 3 | Moisture content | 1016 |  |  |  |
|  |  | 4 | Compression strength | 1016 |  |  |  |
|  |  | 5 | Folding strength | 1016 |  |  |  |
|  |  | 6 | Transmit heat coefficient | 1016 |  |  |  |
| 45 | Moulded polystyrene foam board | 1 | Specification size | 1016 | 1.《Moulded polystyrene foam board for thermal insulation》 GB/T 10801.1-2002 |  | Expanded |
|  |  | 2 | External appearance quality | 1016 |  |  |  |
|  |  | 3 | Form view density | 1016 |  |  |  |
|  |  | 4 | Compress strength | 1016 |  |  |  |
|  |  | 5 | Transmit heat coefficient | 1016 |  |  |  |
|  |  | 6 | Fume through coefficient | 1016 |  |  |  |
|  |  | 7 | Absorb water a rate | 1016 |  |  |  |
|  |  | 8 | Size stability | 1016 |  |  |  |
| 46 | Rigid extruded polystyrene foam board | 1 | Specification size | 1016 | 1.《Rigid extruded polystyrene foam board for thermal insulation (XPS)》GB/T 10801.2-2002 |  | Expanded |
|  |  | 2 | External appearance quality | 1016 |  |  |  |
|  |  | 3 | Compress strength | 1016 |  |  |  |
|  |  | 4 | Absorb water a rate | 1016 |  |  |  |
|  |  | 5 | Deeply wet coefficient | 1016 |  |  |  |
|  |  | 6 | Unique hot function | 1016 |  |  |  |
|  |  | 7 | Size stability | 1016 |  |  |  |
| 47 | Rigid Polyurethane Foam | 1 | Density | 1016 | 1.《technical code for rigid polyurethane foam insulation and waterproof engineering》QB/T3806-1999 2.《Technical code for rigid polyurethane foam insulation and waterproof engineering》GB50404-2007 |  | Expanded |
|  |  | 2 | Compress function | 1016 |  |  |  |
|  |  | 3 | The perpendicular noodles anti- pull dint | 1016 |  |  |  |
|  |  | 4 | Transmit heat coefficient | 1016 |  |  |  |
|  |  | 5 | Absorb water a rate | 1016 |  |  |  |
|  |  | 6 | Size stability | 1016 |  |  |  |
| 48 | Putty for exterior wall | 1 | In the container appearance | 1016 | 1．《putty for exterior wall》JG/T157-2004 |  | Expanded |
|  |  | 2 | Construction | 1016 |  |  |  |
|  |  | 3 | Dry time | 1016 |  |  |  |
|  |  | 4 | The dozen whet | 1016 |  |  |  |
|  |  | 5 | Bear water | 1016 |  |  |  |
|  |  | 6 | Bear an alkalescence | 1016 |  |  |  |
|  |  | 7 | Glue knot strength | 1016 |  |  |  |
|  |  | 8 | The low temperature save to store a stability | 1016 |  |  |  |
|  |  | 9 | Soft tenacity | 1016 |  |  |  |
| 49 | Mineral binder and expanded polystyrene granule insulating material | 1 | Form view density | 1016 | 1.《external insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》 JG 158-2004 |  | Expanded |
|  |  | 2 | Transmit heat coefficient | 1016 |  |  |  |
|  |  | 3 | Save hot coefficient | 1016 |  |  |  |
|  |  | 4 | The anti- press strength | 1016 |  |  |  |
|  |  | 5 | Press to shear to glue to connect strength | 1016 |  |  |  |
|  |  | 6 | Line constringency rate | 1016 |  |  |  |
|  |  | 7 | Soften coefficient | 1016 |  |  |  |
| 50 | Building insulation mortar | 1 | Form view density | 1016 | 1.《Building insulation mortar》 GB/T20473-2006 2.《technical specifications of cement based building thermal insulation systems mixed with expanded and vitrified tiny bead》DB51/T5061-2008 |  | Expanded |
|  |  | 2 | Transmit heat coefficient | 1016 |  |  |  |
|  |  | 3 | Save hot coefficient | 1016 |  |  |  |
|  |  | 4 | Anti-press strength | 1016 |  |  |  |
|  |  | 5 | Shear to slice strength | 1016 |  |  |  |
|  |  | 6 | Line constringency rate | 1016 |  |  |  |
|  |  | 7 | Soften rate | 1016 |  |  |  |
| 51 | Adhesive | 1 | Pull to stretch to glue to connect strength | 1016 | 1.《external thermal insulation composite systems based on expanded polystyrene》 JG 149-2003 |  | Expanded |
|  |  | 2 | Can time of usage | 1016 |  |  |  |
|  |  | 3 | Soft tenacity (Ratio of breaking by compressing) | 1016 |  |  |  |
| 52 | Interface treating agent | 1 | Original strength | 1016 | 1.《external insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》 JG 158-2004 |  | Expanded |
|  |  | 2 | Bear water | 1016 |  |  |  |
|  |  | 3 | Bear the jelly melt | 1016 |  |  |  |
| 53 | Adhesive for tile | 1 | Pull to stretch to glue to connect strength | 1016 | 1.《external insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》 JG 158-2004 |  | Expanded |
|  |  | 2 | Press to fold a ratio | 1016 |  |  |  |
|  |  | 3 | Press to shear to glue to connect strength | 1016 |  |  |  |
|  |  | 4 | Lline constringency rate | 1016 |  |  |  |
| 54 | Finishing coat mortar | 1 | Not vapor content | 1016 | 1.《external insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》 JG 158-2004 |  | Expanded |
|  |  | 2 | Storage stability | 1016 |  |  |  |
|  |  | 3 | Can time of usage | 1016 |  |  |  |
|  |  | 4 | Pull to stretch to glue to connect strength | 1016 |  |  |  |
|  |  | 5 | Soak in water to pull to stretch strength | 1016 |  |  |  |
|  |  | 6 | Press to fold a ratio | 1016 |  |  |  |
| 55 | Alkali-resistant fiberglass mesh | 1 | External appearance | 1016 | 1.《external thermal insulation composite systems based on expanded polystyrene 》 JG 149-2003 2.《external insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》 JG 158-20044 3.《technical specification for external thermal insulation on wall》JGJ 144-2004 |  | Expanded |
|  |  | 2 | Length, width | 1016 |  |  |  |
|  |  | 3 | The mesh center be apart from | 1016 |  |  |  |
|  |  | 4 | Unit area quality | 1016 |  |  |  |
|  |  | 5 | Split strong dint | 1016 |  |  |  |
|  |  | 6 | Bear the alkali strong dint reserve a rate | 1016 |  |  |  |
|  |  | 7 | Split an elongation rate | 1016 |  |  |  |
|  |  | 8 | The quality of plastics | 1016 |  |  |  |
| 56 | Welded wire fabric coated with zine | 1 | Silk path | 1016 | 1.《external insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》 JG 158-2004 2.《technical specification for external thermal insulation on wall》JGJ 144-2004 |  | Expanded |
|  |  | 2 | Mesh size | 1016 |  |  |  |
|  |  | 3 | The anti- which weld position pull dint | 1016 |  |  |  |
|  |  | 4 | Plate a zinc layer quality | 1016 |  |  |  |
| 57 | Mechanical fixings | 1 | Specification size | 1016 | 1.《external thermal insulation composite systems based on expanded polystyrene》JG 149-2003 2.《external insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》 JG 158-2004 |  | Expanded |
|  |  | 2 | The anti- pull loading dint | 1016 |  |  |  |
|  |  | 3 | Transmit heat to increase additional | 1016 |  |  |  |
| 58 | Expanded and vitrified small ball | 1 | Pile up density | 1016 | 1.《Expanded and vitrified small ball》JC/T1042-2007 |  | Expanded |
|  |  | 2 | Bucket press strength | 1016 |  |  |  |
|  |  | 3 | Transmit heat coefficient | 1016 |  |  |  |
|  |  | 4 | Physical volume density | 1016 |  |  |  |
|  |  | 5 | Physical volume afloat rate | 1016 |  |  |  |
|  |  | 6 | Close bore of how much | 1016 |  |  |  |
| 59 | Double glazing | 1 | Physical Properties | 1016 | 1.《Double glazing》GB/T11944-2002 |  | Expanded |
| 60 | Defects of exterior walls | 1 | Physical Properties | 1016 | 1.《Technical specification for inspecting the defects of exterior walls cementing coats of building using infrared thermograph methoed》CECS204:2006 |  | Expanded |
| 61 | Jointing mortar | 1 | External appearance | 1016 | 1.《External insulating rendering systems made of mortar with mineral binder and using expanded polystyrene granule as aggregate》 JG 158-2004 2.《Technical specification for external thermal insulation on wal》JGJ 144-2004 |  | Expanded |
|  |  | 2 | Color | 1016 |  |  |  |
|  |  | 3 | Condense time | 1016 |  |  |  |
|  |  | 4 | Pull to stretch to glue to connect strength | 1016 |  |  |  |
|  |  | 5 | Press to fold a ratio | 1016 |  |  |  |
|  |  | 6 | Deeply water | 1016 |  |  |  |
| 8.Ventilation and air conditioning |  |  |  |  |  |  |  |
| 62 | Heating, Ventilating and Air Conditioning systems | 1 | Temperature | 1405 | 1.《Code of acceptance for construction quality of ventilation and air conditioning works》 GB 50243-2002 2.《Standard for Energy Efficiency Inspection of Heating Residential Buildings》JGJ 132-2001 3.《Code for acceptance of energy efficient building construction》 GB 50411-2007 4.《Guide for test and evaluation of demonstration projects of renewable energy utilization in building》/2, 3, 4 5.《Methods for determination of air temperature in public places》GB/T18204.13-2000 6.《Methods for determination of air humidity in public places》GB/T18204.14-2000 7.《Methods for determination of atmospheric in public places》 GB/T 18204.16-2000 8.《Methods for determination of wind speed in public places》 GB/T 18204.15-2000 9.《Methods for determination of noise in public places》GB/T18204.22-2000 10.《Determination of sound power levels for noise emitted by heating-ventilating and air conditioning equipments-Engineering method》 GB 9068-1988 |  | Expanded |
|  |  | 2 | Flow | 1405 |  |  |  |
|  |  | 3 | Pressure | 1405 |  |  |  |
|  |  | 4 | Air speed | 1405 |  |  |  |
|  |  | 5 | Voltage | 1405 |  |  |  |
|  |  | 6 | Electric current | 1405 |  |  |  |
|  |  | 7 | Interior input power | 1405 |  |  |  |
|  |  | 8 | Electric frequency | 1405 |  |  |  |
|  |  | 9 | Power factor | 1405 |  |  |  |
|  |  | 10 | Air speed | 1405 |  |  |  |
|  |  | 11 | Noise | 1405 |  |  |  |
| 63 | Solar energy photoelectric and photothermal systems | 1 | Temperature | 1405 | 1.《Guide for test and evaluation of demonstration projects of renewable energy utilization in building》/2, 3, 4 2.《Solar water heating systems-Design,installation and engineering acceptance》 GB/T 18713-2002 |  | Expanded |
|  |  | 2 | Flow | 1405 |  |  |  |
|  |  | 3 | Air speed | 1405 |  |  |  |
|  |  | 4 | Pressure | 1405 |  |  |  |
|  |  | 5 | Input and output power | 1405 |  |  |  |
|  |  | 6 | Solar irradiance | 1405 |  |  |  |
| 64 | Illuminating system in building | 1 | Average illumination | 1405 | 1.《Code for acceptance of energy efficient building construction》 GB 50411-2007 2.《Methods for determination of illumination in public places》GB/T18204.21-2000 |  | Expanded |
|  |  | 2 | Illuminating power density | 1405 |  |  |  |
| 9.Building machine and tools |  |  |  |  |  |  |  |
| 65 | Tower crane | 1 | Structural stress | 0304.04 | 1.《Tower crane》GB/T 5031-2008 2.《Safety code for tower cranes》GB5144-2006 3.《Design ruler for tower cranes》 GB/T13752-1992 |  | Standard alteration |
|  |  | 2 | Structural dynamic characteristic | 0304.04 |  |  |  |
|  |  | 3 | Structural displacement | 0304.04 |  |  |  |
|  |  | 4 | Behavior parameter | 0304.04 |  |  |  |
|  |  | 5 | Bare load | 0304.04 |  |  |  |
|  |  | 6 | Load | 0304.04 |  |  |  |
|  |  | 7 | Appearance | 0304.04 |  |  |  |
|  |  | 8 | Serial task | 0304.04 |  |  |  |
|  |  | 9 | Safety equipment | 0304.04 |  |  |  |
|  |  | 10 | Reliability | 0304.04 |  |  |  |
|  |  | 11 | Safety requirement | 0304.04 |  |  |  |
| 66 | Composite steel-formwork | 1 | Dimension | 1017 | 1.《Technical code of composite steel-form》GB 50214-2001 |  |  |
|  |  | 2 | Mechanical properties | 1017 |  |  |  |
| 67 | Concrete mixers | 1 | Churn up time | 1026 | 1.《Concrete mixers》GB/T 9142-2000 |  |  |
|  |  | 2 | Unload time | 1026 |  |  |  |
|  |  | 3 | Work cycle | 1026 |  |  |  |
|  |  | 4 | Water supply precision | 1026 |  |  |  |
|  |  | 5 | Capability of bare churn up | 1026 |  |  |  |
|  |  | 6 | Energy consume | 1026 |  |  |  |
|  |  | 7 | Yawp | 1026 |  |  |  |
|  |  | 8 | Capability of concrete homogeneous | 1026 |  |  |  |
|  |  | 9 | Unload highness | 1026 |  |  |  |
|  |  | 10 | Operate stress | 1026 |  |  |  |
|  |  | 11 | Feed-in placket of radial jumpiness and part jumpiness | 1026 |  |  |  |
|  |  | 12 | Lube temperature hoist | 1026 |  |  |  |
|  |  | 13 | Clearance | 1026 |  |  |  |
|  |  | 14 | Reliability text | 1026 |  |  |  |
| 68 | Concrete batching plant | 1 | Producing ability | 1026 | 1.《Concrete batching plant specification》GB/T 10171-2005 |  | Standard alteration |
|  |  | 2 | Churn up time | 1026 |  |  |  |
|  |  | 3 | Energy wastage | 1026 |  |  |  |
|  |  | 4 | Differential value of collapse degree | 1026 |  |  |  |
|  |  | 5 | Concoct precision | 1026 |  |  |  |
|  |  | 6 | Yawp | 1026 |  |  |  |
|  |  | 7 | Over loading | 1026 |  |  |  |
|  |  | 8 | Appearance | 1026 |  |  |  |
| 69 | Extruder of concrete hollow slab | 1 | Molding rate | 1026 | 1.《Extruder of concrete hollow slab》JG/T113-1999 |  |  |
|  |  | 2 | Hollow board quality | 1026 |  |  |  |
|  |  | 3 | Swing offset | 1026 |  |  |  |
|  |  | 4 | Yawp | 1026 |  |  |  |
|  |  | 5 | Insulation | 1026 |  |  |  |
|  |  | 6 | Interval | 1026 |  |  |  |
|  |  | 7 | Symmetry of radial jumpiness of leptospira and lateral | 1026 |  |  |  |
|  |  | 8 | Work life of leptospira | 1026 |  |  |  |
|  |  | 9 | Oil temperature | 1026 |  |  |  |
| 70 | Small block machine | 1 | Molding cycle | 1026 | 1.《Small block machine》GB/T8533-2008 |  | Standard alteration |
|  |  | 2 | Moulding box amplitude excursion | 1026 |  |  |  |
|  |  | 3 | Block dimension | 1026 |  |  |  |
|  |  | 4 | Overall power consumption | 1026 |  |  |  |
|  |  | 5 | Service behavior | 1026 |  |  |  |
|  |  | 6 | Appearance | 1026 |  |  |  |
|  |  | 7 | Electric system | 1026 |  |  |  |
|  |  | 8 | Moulding box vibration acceleration | 1026 |  |  |  |
|  |  | 9 | Engine frame amplitude | 1026 |  |  |  |
|  |  | 10 | Blok strength | 1026 |  |  |  |
|  |  | 11 | Reliability | 1026 |  |  |  |
|  |  | 12 | Clearance between footboard and moulding box | 1026 |  |  | Expanded |
|  |  | 13 | Drive motor slip | 1026 |  |  |  |
| 71 | Reinforcing bar cutting machines | 1 | Appearance quality | 1026 | 1.《Reinforcing bar cutting machines》 JG/T5085-1996 |  |  |
|  |  | 2 | Idle running | 1026 |  |  |  |
|  |  | 3 | Normal load | 1026 |  |  |  |
|  |  | 4 | Clutch examine | 1026 |  |  |  |
|  |  | 5 | Operating power | 1026 |  |  |  |
|  |  | 6 | Yawp | 1026 |  |  |  |
|  |  | 7 | Temperature calefaction | 1026 |  |  |  |
|  |  | 8 | Decrease of flywheel rotate speed | 1026 |  |  |  |
|  |  | 9 | Danger section stress of machine body | 1026 |  |  |  |
|  |  | 10 | Tangent length | 1026 |  |  |  |
|  |  | 11 | Reliability | 1026 |  |  |  |
| 72 | Building hoist | 1 | Sign and whole capability | 1026 | 1.《Building hoist-Safety rules》 GB10055-2007 2.《Building hoist》GB/T 10054-2005 3.《Building hoist-Pinion and cone progressive type safety device》JG121-2000 |  |  |
|  |  | 2 | Quality of welding line | 1026 |  |  | Expanded |
|  |  | 3 | Geometry and dimension of important welding line | 1026 |  |  |  |
|  |  | 4 | Proximate | 1026 |  |  |  |
|  |  | 5 | Quality of japanning |  |  |  |  |
|  |  | 6 | Quality of cast | 1026 |  |  |  |
|  |  | 7 | Pressurize | 1026 |  |  |  |
|  |  | 8 | gearing | 1026 |  |  |  |
|  |  | 9 | electric | 1026 |  |  |  |
|  |  | 10 | Lockup and electric safety equipment | 1026 |  |  |  |
|  |  | 11 | Difference of Rack connect | 1026 |  |  | Expanded/Add 1 Standard |
|  |  | 12 | section diagonal | 1026 |  |  |  |
|  |  | 13 | Difference of orbital node | 1026 |  |  |  |
|  |  | 14 | Bumper | 1026 |  |  |  |
|  |  | 15 | Protector of over loading | 1026 |  |  |  |
|  |  | 16 | Check-up and testing | 1026 |  |  |  |
|  |  | 17 | Stability | 1026 |  |  |  |
|  |  | 18 | Installation test | 1026 |  |  |  |
|  |  | 19 | Idle running test | 1026 |  |  |  |
|  |  | 20 | Normai test | 1026 |  |  |  |
|  |  | 21 | Over loading test | 1026 |  |  |  |
|  |  | 22 | Yawp test | 1026 |  |  |  |
|  |  | 23 | Rate test | 1026 |  |  |  |
|  |  | 24 | Temperature calefaction | 1026 |  |  |  |
|  |  | 25 | Falling test | 1026 |  | Accredited only for periodical inspection |  |
|  |  | 26 | Upright degree of installation | 1026 |  |  | Expanded |
|  |  | 27 | Structure Stress test | 1026 |  |  |  |
|  |  | 28 | Reliability test | 1026 |  |  |  |
| 73 | Construction winch | 1 | Rated speed | 1026 | 1.《Construction winch》GB/T1955-2008 |  | Standard alteration |
|  |  | 2 | Braking distance | 1026 |  |  |  |
|  |  | 3 | Yawp | 1026 |  |  |  |
|  |  | 4 | Operate stress and march | 1026 |  |  |  |
|  |  | 5 | Clutch examine | 1026 |  |  |  |
|  |  | 6 | Appearance quality | 1026 |  |  |  |
|  |  | 7 | Electric | 1026 |  |  |  |
|  |  | 8 | Reliability | 1026 |  |  |  |
|  |  | 9 | Over loading test | 1026 |  |  |  |
|  |  | 10 | Reduced voltage starting | 1026 |  |  |  |
|  |  | 11 | Temperature calefaction | 1026 |  |  |  |
|  |  | 12 | Leak | 1026 |  |  |  |
|  |  | 13 | Drum-to-rope ratio | 1026 |  |  |  |
| 74 | Reinforcing bar bending machines | 1 | Appearance quality | 1026 | 1．《Reinforcing bar bending machines》JG/T5081-1996 |  |  |
|  |  | 2 | Insulation | 1026 |  |  |  |
|  |  | 3 | Grounding symbol | 1026 |  |  |  |
|  |  | 4 | Idle running | 1026 |  |  |  |
|  |  | 5 | Idle power | 1026 |  |  |  |
|  |  | 6 | Yawp | 1026 |  |  |  |
|  |  | 7 | Bending rate | 1026 |  |  |  |
|  |  | 8 | Temperature calefaction | 1026 |  |  |  |
|  |  | 9 | Bare loading electric current | 1026 |  |  |  |
|  |  | 10 | Loading power | 1026 |  |  |  |
|  |  | 11 | Loading electric current | 1026 |  |  |  |
|  |  | 12 | Loading work plate rotate speed | 1026 |  |  |  |
|  |  | 13 | Decelerated box and hydraulic pipeline | 1026 |  |  |  |
|  |  | 14 | Reliability | 1026 |  |  |  |